## Summary
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Data input and summary of results:
Only enter figures in green cells
Orange cells = defaults and can be over-ridden
See results in yellow cells. Do not alter Yellow cells.
EMISSIONS CALC INPUTS
|  | PROJECT DATA | unit | value | Source | Comments
|  | Year project starts operating | year | 2014 | PGE Feasibility Study, page 8
|  | Date Project starts Operating | dd/mm/yyyy | 2014-01-01 | PGE Feasibility Study, page 8 | Commissioning date for Ulubelu II (both unit #3 and #4 are in operation) is 1 January 2014.
|  | Year Crediting Period starts | year | 2014
|  | Project lifetime | year | 30 | PGE Feasibility Study, page 12, where mentioned that PLN will be bound to have a PPA of 30 years period.
|  | Installed Capacity of Project units | MW | 110 | PGE Feasibility Study, page 16
|  | Overall load factor in project scenario | % | 90% | PGE Feasibility Study, page 16
|  | Operating period | hour / year | 7884 | Calculated
|  | Generation | MWh / year | 867240 | Calculated; PGE Feasibility Study, page 9
|  | Geothermal steam consumption | tonnes / year | 6838000 | PGE Feasibility Study, page 9
|  | CO2 (NCG) content in geothermal steam | t.CO2 / t.steam | 0.0089467 | Monitoring Report of Kamojang geothermal registered project page 9
|  | CH4 (NCG) content in geothermal steam | t.CO2 / t.steam | 9.7278e-06 | Monitoring Report of Kamojang geothermal registered project page 10
|  | Diesel fuel annual auxiliary consumption | liter / year | 120 | Monitoring Report of Kamojang geothermal registered project page 12
|  | Diesel fuel density - Pertamina supply | kg / liter | 0.84 | Pertamina diesel specification |  |  | RESULTS POST TAX
|  | BASELINE DATA | [5 empty] | Benchmark | 19.67%
|  | Name of Grid |  | Sumatera |  |  |  | IRR (without CDM) | 15.98% | (base case)
|  | Operating Margin (OM) | t.CO2e / MWh | 0.948 | Indonesian DNA calculation |  |  |  |  | Variation +10 % /-10 % : | Variation to breach the benchmark:
|  | Build Margin (BM) | t.CO2e / MWh | 0.538 | Indonesian DNA calculation |  |  | Sensitive analisys 1 (rev) (+) | 17.46% | 10% | 25.6%
|  | Grid EF (combined margin) | t.CO2e / MWh | 0.743 | Indonesian DNA calculation |  |  | Sensitive analisys 2 (inv) (-) | 17.43% | 10% | 22.5%
|  | Crediting period | years | 7 |  |  |  | Sensitive analisys 3 (op) (-) | 16.15% | 10% | 100%
FINANCIAL CALC INPUTS
|  | FINANCIAL PARAMETERS |  |  | source
|  | Electricity Price | US$ / MWh | 90 | PGE Feasibility Study, page 16
|  | Electricity Generation | MWh | 867240 | Calculated
|  | Geothermal (corporate income) Tax | % p.a. | 34% | Presidential Decree No. 49 issued in 1991
|  | Interest rate | % p.a. | 3.98% | Cost of debt, WACC | Note : PGE loan used only for power plant construction, since lender is not willing to finance geothermal drilling activities due to high risk involved Therefore interest rate value is currently not available, since power plant construction will only start in the next few years, after wells drilling work
|  | Depreciation for upstream | % p.a. | 10% | PGE Feasibility Study, page 16
|  | Depreciation for downstream | % p.a. | 5% | PGE Feasibility Study, page 16
|  | COSTS AND EQUIPMENT (US$) |  |  | source
a) Investment cost
|  | Total Investment | US$ | 270950000 | PGE Feasibility Study, page 15
|  | Contingencies | % | 0%
b) operating cost
|  | Operation & Maintenance Costs | US$ / MWh | 10.1 | PGE Feasibility Study, page 16
|  | Operation & Maintenance Costs | US$ / year | 8800000 | PGE Feasibility Study, page 16
|  | Make-up wells maintenance costs 1 | US$ | 12250000 | PGE Feasibility Study, page 19 This cost incurred at year 2, 15, 27
|  | Residual make-up well (Y27) | US$ | 8575000 | Calculated, depreciation sheet
|  | Make-up wells maintenance costs 2 | US$ | 15940000 | PGE Feasibility Study, page 19 This cost incurred at year 9, 21
|  | Residual make-up well (Y21) | US$ | 1594000 | Calculated, depreciation sheet
|  | Insurance | US$ | 0% | against operation costs
|  | Benchmark |  |  | source
|  | WACC POST TAX | % | 19.67% | WACC calculation spreadsheet
O & M Cost
References from PGE Feasibility Study, page 16
|  | Operating costs component | (US $ / MW) | Capacity (MW) | (US $ / year)
|  | Upstream wells O & M | 30000 | 110 | 3300000
|  | Powerplant O & M | 50000 | 110 | 5500000
8800000
[5 empty] | 3.8 | Upstream operation Cost in US$/MWh
[5 empty] | 6.3 | Powerplant operation Cost in US$/MWh
[5 empty] | 10.1 | Total operational Costs from PGE feasibility study
Investment Cost
References from PGE Feasibility Study, page 15
|  |  | Steam field development (USD) |  | Power plant development (USD)
|  |  | Capital cost | Expenses | Capital cost | Expenses
|  | Investment y = 0; 2013 | 4400000 | 0 | 49500000 | 0
|  | Investment y = -1; 2012 | 27700000 | 400000 | 74250000 | 3300000
|  | Investment y = -2; 2011 | 43700000 | 400000 | 41250000 | 3300000
|  | Investment y = -3; 2010 | 18500000 | 550000 | 400000 | 3300000
|  | Total | 94300000 | 1350000 | 165400000 | 9900000
|  | Total invesment (steam field and power plant development) | 270950000
Loan Repayment
|  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  | Annual interest payment (USD) | 6363489.3333 | 6144058.6667 | 5924628 | 5705197.3333 | 5485766.6667 | 5266336 | 5046905.3333 | 4827474.6667 | 4608044 | 4388613.3333 | 4169182.6667 | 3949752 | 3730321.3333 | 3510890.6667 | 3291460 | 3072029.3333 | 2852598.6667 | 2633168 | 2413737.3333 | 2194306.6667 | 1974876 | 1755445.3333 | 1536014.6667 | 1316584 | 1097153.3333 | 877722.6667 | 658292 | 438861.3333 | 219430.6667 | 0
Depreciation for upstream and downstream | bar: 1 to 5
References from PGE Feasibility Study, page 16 and 19
|  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  | Total depreciation upstream and downstream (USD) | 17700000 | 17700000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 20519000 | 11089000 | 11089000 | 9864000 | 9864000 | 9864000 | 11089000 | 11089000 | 11089000 | 11089000 | 9495000 | 1225000 | 2819000 | 2819000 | 2819000 | 2819000 | 1594000 | 1594000 | 2819000 | 2819000 | 2819000

## CER flow
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Emission reduction calculations (ERUs):
Project year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | Total
Estimated On-line availability of Equipment (%) | 90%
Number of operating hours per year | 7884
Generation (MWh/year) |  | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 18212040
Baseline emissions
CEF ( tCO2e / MWh ) | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743 | 0.743
Baseline emissions ( tCO2e / year ) |  | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 644359 | 13531539
Project Emissions
Project Emissions |  | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 62575 | 1314075
Emission reductions
Crediting period ( years ) | 7
Net Emission Reductions ( tCO2e / year ) |  | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 581784 | 12217464

## Proj Emissions
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Project Emissions
| Total Project Emissions |  |  |  | ACM 0002
|  | PEy | 62575 | t.CO2e
Formula used
|  |  | Variables | PEGP,y | 62574.443 | t.CO2e
|  |  |  | PEFF,y | 0.32075 | t.CO2e
Fugitive carbon dioxide and methane emissions due to release of non-condensable gases from the produced steam
|  | PEGP,y | 62574.443 | t.CO2e
Formula used
|  |  | Variables | wsteam,CO2,y | 0.0089467 | t.CO2 / t.steam
|  |  |  | wsteam,CH4,y | 9.7278e-06 | t.CO2 / t.steam
|  |  |  | MSteam,y | 6838000 | tonnes
|  |  |  | GWPCH4 | 21 | t.CO2 / t.CH4
Project emissions from combustion of fossil fuels related to the operation of the geothermal powerplant
|  | PEFF,y | 0.32075 | t.CO2e
Formula used
|  |  | Variables | FCi,j,y | 120 | litre
|  |  |  | NCVi,y | 0.043 | GJ / kg
|  |  |  | ρi | 0.84 | kg / litre
|  |  |  | EFCO2,i,y | 0.074 | t.CO2 / GJ

## Tables for PDD
Project name: |  | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: |  | 2.4
Prepared by: |  | Arrie Setiawan; Alin Pratidina
Tables for PDD
A.4.4. Estimated amount of emission reductions over the chosen crediting period:
| Year | Annual estimation of emission reductions (tonnes of CO2e)
| Y1 | 581784
| Y2 | 581784
| Y3 | 581784
| Y4 | 581784
| Y5 | 581784
| Y6 | 581784
| Y7 | 581784
| Total estimated reductions (tonnes of CO2e) | 4072488
| Total number of crediting years | 7
| Annual average over the crediting period of estimated reductions (tonnes of CO2e) | 581784
B.4. Key Information and Data Used to Determine the Baseline Scenario
|  | Per year (average) | 10 years (not in PDD)
| Operating Margin Emissions Factor (EF_OMy in t.CO2 / MWh) | 0.948 | 0.844
| Build Margin Emissions Factor (EF_BMy in t.CO2 / MWh) | 0.538 | 0.933
| Baseline Emissions Factor (EFy in tCO2 / MWh) | 0.743 | 0.888
| Electricity generated by Project (EG in MWh) | 867240 | 8672400
| Baseline Emissions (BE in t.CO2) | 644359 | 6443590
B.6.4 Summary of ex-ante estimation of emission reductions
| Year | Estimation of baseline emissions (tonnes of CO2e) | Estimation of project activity emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of overall emission reductions (tonnes of CO2e)
| Y1 | 644359 | 62575 | 0 | 581784
| Y2 | 644359 | 62575 | 0 | 581784
| Y3 | 644359 | 62575 | 0 | 581784
| Y4 | 644359 | 62575 | 0 | 581784
| Y5 | 644359 | 62575 | 0 | 581784
| Y6 | 644359 | 62575 | 0 | 581784
| Y7 | 644359 | 62575 | 0 | 581784
| Total ( t.CO2e ) | 4510513 | 438025 | 0 | 4072488
| Year | Estimation of project activity emissions (tonnes of CO2e) | Estimation of baseline emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of overall emission reductions (tonnes of CO2e)
| Y1 | 62575 | 644359 | 0 | 581784
| Y2 | 62575 | 644359 | 0 | 581784
| Y3 | 62575 | 644359 | 0 | 581784
| Y4 | 62575 | 644359 | 0 | 581784
| Y5 | 62575 | 644359 | 0 | 581784
| Y6 | 62575 | 644359 | 0 | 581784
| Y7 | 62575 | 644359 | 0 | 581784
| Total (tonnes of CO2e) | 438025 | 4510513 | 0 | 4072488

## CEF - Eastern Europe (hidden)
Table B1 Baseline electricity grid CO2 emission factors for JI projects generating electricity
(Source: ERUPT Guidelines, 2001)
values per country per year |  |  | in tCO2/MWh
|  | Average | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
| Belarus | 0.4645 | 0.486 | 0.483 | 0.48 | 0.476 | 0.473 | 0.47 | 0.466 | 0.463 | 0.459 | 0.456 | 0.453 | 0.449 | 0.446 | 0.443
| Bulgaria | 0.7015 | 0.786 | 0.773 | 0.76 | 0.747 | 0.734 | 0.721 | 0.708 | 0.695 | 0.682 | 0.669 | 0.656 | 0.643 | 0.63 | 0.617
| Croatia | 0.6015 | 0.66 | 0.651 | 0.642 | 0.633 | 0.624 | 0.615 | 0.606 | 0.597 | 0.588 | 0.579 | 0.57 | 0.561 | 0.552 | 0.543
| Czech Republic | 0.628 | 0.693 | 0.683 | 0.673 | 0.663 | 0.653 | 0.643 | 0.633 | 0.623 | 0.613 | 0.603 | 0.593 | 0.583 | 0.573 | 0.563
| Estonia | 0.6635 | 0.738 | 0.727 | 0.715 | 0.704 | 0.692 | 0.681 | 0.669 | 0.658 | 0.646 | 0.635 | 0.623 | 0.612 | 0.6 | 0.589
| Hungary | 0.64221 | 0.711 | 0.701 | 0.69 | 0.679 | 0.669 | 0.658 | 0.648 | 0.637 | 0.626 | 0.616 | 0.605 | 0.594 | 0.584 | 0.573
| Latvia | 0.42686 | 0.439 | 0.437 | 0.435 | 0.433 | 0.431 | 0.43 | 0.428 | 0.426 | 0.424 | 0.422 | 0.42 | 0.419 | 0.417 | 0.415
| Poland | 0.6505 | 0.722 | 0.711 | 0.7 | 0.689 | 0.678 | 0.667 | 0.656 | 0.645 | 0.634 | 0.623 | 0.612 | 0.601 | 0.59 | 0.579
| Romania | 0.60664 | 0.666 | 0.657 | 0.648 | 0.639 | 0.63 | 0.62 | 0.611 | 0.602 | 0.593 | 0.584 | 0.575 | 0.565 | 0.556 | 0.547
| Russia | 0.52843 | 0.567 | 0.561 | 0.555 | 0.549 | 0.543 | 0.537 | 0.531 | 0.525 | 0.52 | 0.514 | 0.508 | 0.502 | 0.496 | 0.49
| Slovakia | 0.5545 | 0.6 | 0.593 | 0.586 | 0.579 | 0.572 | 0.565 | 0.558 | 0.551 | 0.544 | 0.537 | 0.53 | 0.523 | 0.516 | 0.509
| Slovenia | 0.67414 | 0.752 | 0.74 | 0.728 | 0.716 | 0.704 | 0.692 | 0.68 | 0.668 | 0.656 | 0.644 | 0.632 | 0.62 | 0.609 | 0.597
| Ukraine | 0.89514 | 1.031 | 1.01 | 0.989 | 0.968 | 0.947 | 0.927 | 0.906 | 0.885 | 0.864 | 0.843 | 0.822 | 0.801 | 0.78 | 0.759

## JW's calcs (hidden)
| Legenda | Fill in
don't fill in
Assumptions
Project characteristics |  |  | comments
Project size |  | 10 | MW installed capacity
loadfactor |  | 50% | (If you don't know the load factor of your project, take 50% for biomass, hydro and 25% for wind)
| 8760 | 8760 | hours per year
Electricity output per year |  | 43800 | MWh | (if project data gives you the electricity generation figures, put it here)
Project emissions |  | 0 | tCO2/MWh (= 0 for renewable and energy efficiency projects)
Other assumptions
CEF of grid electricity |  | 0.911 | tCO2/MWh (look under sheet"CEF Non-Annex I" and sheet "CEF - Eastern Europe" for CEF of country where project takes place
crediting period |  | 10 | (fill in: 2012 - year of implementation)
Market price |  | 5 | Eur/tCO2 (Take 5 if you want to be bullish, take 3 of you want to be conservative)
Discount rate |  | 8% | Take 8% if you don't know
Results
Environmental benefits
Emission reductions per year |  | 39901.8 | tCo2/a
Emission reductions over the project lifetime |  | 399018 | tCO2 for total project
Financial benefits
Annual revenues |  | 199509 | Eur/year
Total carbon revenues |  | 1995090
Discounted present value of carbon revenues |  | 1338721.6298
Carbon revenues per MWh |  | 4.555 | Eur/MWh

## WACC
Project name: |  | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: |  | 2.4
Prepared by: |  | Arrie Setiawan; Alin Pratidina
Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
| Investment decision date: |  | 2010-01-21
| Rate | Description | Value
| D | debt proportion | 62.09% | D/E ratio, averaged value
| Rb | cost of debt before tax | 3.98% | http://www.bi.go.id/web/id/Statistik/Statistik+Ekonomi+dan+Keuangan+Indonesia/Versi+HTML/Sektor+Moneter/#
| TC | tax rate | 34% | Presidential Decree No. 49 issued in 1991
| E | equity proportion | 37.91% | D/E ratio, averaged value
| Re | cost of equity (beta bloomberg table) | 47.57% | Calculation
| Rf | risk free rate | 10.5% | sheet <Market Return>
| Rm | average market return | 29.76% | sheet <Market Return>
| β | beta - bloomberg table | 1.9245 | sheet <Beta>
| WACC | Bloomberg table Asia electric generation | 19.67% | Post tax

## Beta
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Ticker | Name | Cntry | Market Cap | LT Debt/Eq:2009C | Raw Beta:20090101:20091231 | Beta Relative Index Override
AP PM Equity | ABOITIZ POWER CORP | Philippines | 5042805760 | 172.49 | 0.51 | PCOMP Index
ACR PM Equity | ALSONS CONSOLIDATED RES INC | Philippines | 175065312 | 10.03 | 1.53 | PCOMP Index
000543 CH Equity | AN HUI WENERGY CO LTD -A | China | 765861504 | 52.36 | 1.1 | SZASHR Index
API SP Equity | ASIA POWER CORP LTD | China | 43130940 | 18.06 | 0.46 | FSSTI Index
600578 CH Equity | BEIJING JINGNENG THERMAL-A | China | 927504384 | 89.96 | 1.38 | SHASHR Index
SJD VN Equity | CAN DON HYDRO POWER JSC | Vietnam | 15197962 | 72.2 | 0.64 | VNINDEX Index
600900 CH Equity | CHINA YANGTZE POWER CO LTD-A | China | 17335044096 | 115.45 | 0.41 | SHASHR Index
600292 CH Equity | CHONGQING JIULONG ELECTRIC-A | China | 1240839680 | 188.79 | 1.58 | SHASHR Index
600719 CH Equity | DALIAN THERMAL POWER CO -A | China | 265752048 | 3.51 | 1.22 | SHASHR Index
600744 CH Equity | DATANG HUAYIN ELECTRIC POW-A | China | 470792768 | 379.54 | 1.1 | SHASHR Index
991 HK Equity | DATANG INTL POWER GEN CO-H | China | 9022680064 | 417.53 | 1.06 | HSI Index
EGCO TB Equity | ELECTRICITY GENERATING PCL | Thailand | 1496026624 | 18.98 | 0.31 | SET Index
EDC PM Equity | ENERGY DEVELOPMENT CORP | Philippines | 2574163456 | 106.4 | 1.13 | PCOMP Index
FGEN PM Equity | FIRST GEN CORPORATION | Philippines | 1056360128 | 150.53 | 0.96 | PCOMP Index
000993 CH Equity | FUJIAN MINDONG ELECTRIC PW-A | China | 455916928 | 28.64 | 1.17 | SZASHR Index
GLOW TB Equity | GLOW ENERGY PCL | Thailand | 2652864256 | 139.79 | 0.81 | SET Index
200539 CH Equity | GUANGDONG ELECTRIC POWER-B | China | N.A. | 100.21 | 0.89 | SZBSHR Index
000601 CH Equity | GUANGDONG SHAONENG GROUP-A | China | 673531392 | 156.49 | 1.03 | SZASHR Index
600236 CH Equity | GUANGXI GUIGUAN ELECTRIC-A | China | 1645133696 | 153.95 | 0.73 | SHASHR Index
000531 CH Equity | GUANGZHOU HENGYUN ENTERPR-A | China | 442967040 | 221.33 | 1.06 | SZASHR Index
002039 CH Equity | GUIZHOU QIANYUAN POWER CO-A | China | 482965472 | 1289.87 | 0.79 | SZASHR Index
000966 CH Equity | GUODIAN CHANGYUAN ELECTRIC-A | China | 411981984 | 439.26 | 0.89 | SZASHR Index
600864 CH Equity | HARBIN HATOU INVESTMENT CO-A | China | 639436416 | 10.56 | 1.21 | SHASHR Index
001896 CH Equity | HENAN YUNENG HOLDINGS CO-A | China | 688276672 | 388.02 | 1.11 | SZASHR Index
900937 CH Equity | HUADIAN ENERGY CO LTD -B | China | 881262912 | 193.8 | 0.91 | SHBSHR Index
600027 CH Equity | HUADIAN POWER INTL CORP-A | China | 2962942208 | 282.29 | 0.93 | SHASHR Index
902 HK Equity | HUANENG POWER INTL INC-H | China | 9945124864 | 201.94 | 0.58 | HSI Index
600863 CH Equity | INNER MONGOLIA MENGDIAN HU-A | China | 2780517376 | 331.02 | 0.86 | SHASHR Index
000301 CH Equity | JIANGSU WUJIANG CHINA EAST-A | China | 709984256 | 2.43 | 1.3 | SZASHR Index
000899 CH Equity | JIANGXI GANNENG CO-A | China | 598938048 | 240.17 | 0.83 | SZASHR Index
000875 CH Equity | JILIN POWER SHARE CO-A | China | 572290880 | 73.52 | 1.05 | SZASHR Index
KHP VN Equity | KHANH HOA POWER JSC | Vietnam | 13703022 | 113.95 | 1.05 | VNINDEX Index
NBVL IN Equity | NAVA BHARAT VENTURES LTD | India | 312998048 | 32.95 | 1.23 | SENSEX Index
NTPC IN Equity | NTPC LTD | India | 27519973376 | 63.41 | 0.67 | SENSEX Index
PPC VN Equity | PHA LAI THERMAL POWER JSC | Vietnam | 103047736 | 152.88 | 0.94 | VNINDEX Index
RATCH TB Equity | RATCHABURI ELEC GEN HODG PUB | Thailand | 1948672256 | 37.86 | 0.26 | SET Index
RHC VN Equity | RY NINH II HYDROELECTRIC JSC | Vietnam | 2777973.25 | 43.62 | 0.51 | VNINDEX Index
600886 CH Equity | SDIC HUAJING POWER HOLDING-A | China | 2004936448 | 541.99 | 0.73 | SHASHR Index
000720 CH Equity | SHANDONG XINNENG TAISHAN -A | China | 489620864 | 317.78 | 1.39 | SZASHR Index
600021 CH Equity | SHANGHAI ELECTRIC POWER CO-A | China | 1762696320 | 137.51 | 1.06 | SHASHR Index
000767 CH Equity | SHANXI ZHANGZE ELEC POWER-A | China | 1004985920 | 140.47 | 1.24 | SZASHR Index
200037 CH Equity | SHENZHEN NANSHAN POWER CO-B | China | 334499744 | 8.44 | 1.08 | SZBSHR Index
SEPCO PA Equity | SOUTHERN ELECTRIC POWER CO | Pakistan | 1244116.88 | 149.05 | 0.24 | KSE100 Index
TBC VN Equity | THAC BA HYDROPOWER JSC | Vietnam | 33546712 | 4.01 | 0.87 | VNINDEX Index
000695 CH Equity | TIANJIN BINHAI ENERGY & DE-A | China | 303372160 | 91.7 | 1.14 | SZASHR Index
TPW IN Equity | TORRENT POWER LTD | India | 1980903424 | 89.33 | 1.11 | SENSEX Index
VPEL SL Equity | VALLIBEL POWER ERATHNA PLC | Sri Lanka | 55592552 | 0.62 | 0.42 | CSEALL Index
VSH VN Equity | VINH SON - SONG HINH HYDROPO | Vietnam | 96254960 | 11 | 0.89 | VNINDEX Index
900949 CH Equity | ZHEJIANG SOUTHEAST ELEC-B | China | 992940032 | 38 | 0.95 | SHBSHR Index
source : Bloomberg Finance L.P. |  |  |  | 163.7488 | 0.9249 | 1.9245
1.6375
|  |  |  | D/E Ratio | Unlevered beta | Levered beta 2009
Relevered beta = unlevered beta x [1 + ((1-Tax) x D/E ratio)) ]
|  |  | D/E Ratio | 1.6375
|  |  | D | 1.6375
|  |  | E | 1
|  |  | D+E | 2.6375
|  |  | Debt proportion | 0.62085

## Market Return
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Date | Open | High | Low | Close | Volume | Adj Close
2009-12-30 | 2520.3 | 2534.36 | 2519.01 | 2534.36 | 1986381600 | 2534.36
2009-12-01 | 2416.04 | 2542.5 | 2413 | 2534.36 | 3097530100 | 2534.36
2009-11-02 | 2365.65 | 2494.82 | 2294.56 | 2415.84 | 5165790600 | 2415.84
2009-10-01 | 2467.9 | 2559.67 | 2235.39 | 2367.7 | 4195024800 | 2367.7
2009-09-01 | 2341.43 | 2482.85 | 2272.76 | 2467.59 | 3960611100 | 2467.59
2009-08-03 | 2323.85 | 2411.9 | 2271.21 | 2341.54 | 4333564700 | 2341.54
2009-07-01 | 2026.88 | 2332.76 | 1992.38 | 2323.24 | 4630064400 | 2323.24
2009-06-01 | 1917.45 | 2116.17 | 1888.82 | 2026.78 | 5556872500 | 2026.78
2009-05-01 | 1722.77 | 1941.79 | 1701.99 | 1916.83 | 2851413400 | 1916.83
2009-04-01 | 1434.07 | 1728.07 | 1434.07 | 1722.77 | 3009979400 | 1722.77
2009-03-02 | 1285.48 | 1467.52 | 1244.87 | 1434.07 | 440725900 | 1434.07
2009-02-02 | 1330.02 | 1360.94 | 1281.07 | 1285.48 | 681557000 | 1285.48
2009-01-05 | 1377.45 | 1472.46 | 1307.53 | 1332.67 | 339604500 | 1332.67
2008-12-01 | 1240.85 | 1376.1 | 1177.86 | 1355.41 | 172534500 | 1355.41
2008-11-03 | 1281.51 | 1430.72 | 1102.67 | 1241.54 | 336466400 | 1241.54
2008-10-06 | 1766.94 | 1766.94 | 1089.34 | 1256.7 | 199721600 | 1256.7
2009-09-01 | 2157.02 | 2168.8 | 1592.24 | 1832.51 | 310863800 | 1832.51
2008-08-01 | 2283.02 | 2283.02 | 2035.59 | 2165.94 | 716255500 | 2165.94
2008-07-01 | 2361.48 | 2394.17 | 2129.4 | 2304.51 | 266418800 | 2304.51
2008-06-02 | 2447.63 | 2461.05 | 2316.43 | 2349.1 | 332752700 | 2349.1
2008-05-02 | 2333.56 | 2516.26 | 2322.19 | 2444.35 | 691045000 | 2444.35
2008-04-01 | 2463.74 | 2465.82 | 2167.65 | 2304.52 | 433096200 | 2304.52
2008-03-03 | 2651.88 | 2689.66 | 2239.73 | 2447.3 | 384152600 | 2447.3
2008-02-01 | 2657.16 | 2773.43 | 2573.41 | 2721.94 | 606519900 | 2721.94
2008-01-02 | 2739.59 | 2838.48 | 2229.82 | 2627.25 | 1050029300 | 2627.25
2007-12-03 | 2703.72 | 2818.53 | 2629.07 | 2745.83 | 472095200 | 2745.83
2007-11-01 | 2692.51 | 2737.81 | 2526.95 | 2688.33 | 485623600 | 2688.33
2007-10-01 | 2366.61 | 2689.92 | 2366.61 | 2643.49 | 370644300 | 2643.49
2007-09-03 | 2194.43 | 2385.24 | 2192.79 | 2359.21 | 1589492100 | 2359.21
2007-08-01 | 2318.7 | 2322.8 | 1863.36 | 2194.34 | 266673500 | 2194.34
2007-07-02 | 2140.62 | 2405.96 | 2140.62 | 2348.67 | 246756600 | 2348.67
2007-06-04 | 2100.68 | 2167.45 | 2045.58 | 2139.28 | 394676800 | 2139.28
2007-05-01 | 1995.17 | 2111.83 | 1987.89 | 2084.32 | 394505300 | 2084.32
2007-04-02 | 1837.18 | 2021.01 | 1837.18 | 1999.17 | 262589300 | 1999.17
2007-03-01 | 1752.11 | 1833.42 | 1692.22 | 1830.92 | 215927200 | 1830.92
2007-02-01 | 1765.87 | 1824.99 | 1664.2 | 1740.97 | 228070800 | 1740.97
2007-01-02 | 1813.45 | 1843.35 | 1627.76 | 1757.26 | 327844100 | 1757.26
2006-12-01 | 1720.15 | 1814.26 | 1719.34 | 1805.52 | 210707700 | 1805.52
2006-11-01 | 1582.7 | 1738.41 | 1576.44 | 1718.96 | 171288600 | 1718.96
2006-10-02 | 1531.98 | 1588.53 | 1515.46 | 1582.63 | 146408800 | 1582.63
2006-09-01 | 1431.54 | 1534.61 | 1417.24 | 1534.61 | 115136000 | 1534.61
2006-08-01 | 1352.74 | 1441.96 | 1351.01 | 1431.26 | 157122100 | 1431.26
2006-07-03 | 1310.58 | 1355.19 | 1277.6 | 1351.65 | 161085300 | 1351.65
2006-06-01 | 1340.17 | 1359.53 | 1222.28 | 1310.26 | 104983100 | 1310.26
2006-05-01 | 1468.29 | 1553.49 | 1272.26 | 1330 | 133310300 | 1330
2006-04-03 | 1322.47 | 1499.99 | 1322.3 | 1464.41 | 123841600 | 1464.41
2006-03-01 | 1222.81 | 1339.82 | 1222.21 | 1322.97 | 102611500 | 1322.97
2006-02-01 | 1233.96 | 1260.1 | 1212.29 | 1230.66 | 104703400 | 1230.66
2006-01-02 | 1161.98 | 1268.63 | 1161.3 | 1232.32 | 120114300 | 1232.32
2005-12-01 | 1095.42 | 1185.91 | 1087.16 | 1162.64 | 80968100 | 1162.64
2005-11-01 | 1072.88 | 1096.64 | 1012.48 | 1096.64 | 64217100 | 1096.64
2005-10-03 | 1055.15 | 1109.8 | 1053.46 | 1066.22 | 93816900 | 1066.22
2005-09-01 | 1028.82 | 1106.81 | 1008.39 | 1079.28 | 105017400 | 1079.28
2005-08-01 | 1180.49 | 1195.55 | 951.21 | 1050.09 | 137322400 | 1050.09
2005-07-01 | 1124.3 | 1187.79 | 1101.99 | 1182.3 | 137601700 | 1182.3
2005-06-01 | 1087.56 | 1148.8 | 1079.14 | 1122.38 | 104808300 | 1122.38
2005-05-02 | 1031.1 | 1088.21 | 1021.4 | 1088.17 | 90825700 | 1088.17
2005-04-01 | 1081.52 | 1121.46 | 1011.38 | 1029.61 | 131815700 | 1029.61
2005-03-01 | 1074.25 | 1156.96 | 1056.55 | 1080.17 | 156957800 | 1080.17
2005-02-01 | 1046.1 | 1109.48 | 1034.15 | 1073.83 | 88883600 | 1073.83
2005-01-03 | 1000.55 | 1049.13 | 994.53 | 1045.44 | 96869600 | 1045.44
2004-12-01 | 977.83 | 1007.49 | 910.99 | 1000.23 | 93225500 | 1000.23
2004-11-01 | 860.65 | 977.77 | 857.57 | 977.77 | 114077500 | 977.77
2004-10-01 | 820.69 | 864.62 | 820.52 | 860.49 | 107195000 | 860.49
2004-09-01 | 755.96 | 829.57 | 755.95 | 820.13 | 89928800 | 820.13
2004-08-02 | 755.14 | 763.95 | 728.35 | 754.7 | 119553300 | 754.7
2004-07-01 | 728.22 | 772.35 | 722.75 | 756.98 | 127825100 | 756.98
2004-06-01 | 731.51 | 732.4 | 683.92 | 732.4 | 107164400 | 732.4
2004-05-04 | 785.4 | 786.38 | 665.96 | 732.52 | 88845200 | 732.52
2004-04-01 | 735.68 | 824.51 | 729.77 | 783.41 | 75124200 | 783.41
2004-03-01 | 760.9 | 781.23 | 700.18 | 735.68 | 82096200 | 735.68
2004-02-03 | 748.48 | 796.07 | 725.22 | 761.08 | 75736900 | 761.08
2004-01-01 | 691.38 | 788.25 | 688 | 752.93 | 98134400 | 752.93
2003-12-01 | 617.26 | 700.96 | 617.26 | 691.9 | 99570900 | 691.9
2003-11-03 | 624.27 | 642.41 | 598.74 | 617.08 | 118093600 | 617.08
2003-10-01 | 597.61 | 658.1 | 597.61 | 625.55 | 100958800 | 625.55
2003-09-01 | 529.51 | 606.62 | 529.51 | 597.65 | 167239900 | 597.65
2003-08-01 | 508.11 | 531.75 | 479.82 | 529.67 | 191177400 | 529.67
2003-07-01 | 505.47 | 539.13 | 496.22 | 507.98 | 156255400 | 507.98
2003-06-02 | 495.24 | 524.89 | 493.27 | 505.5 | 154304100 | 505.5
2003-05-01 | 452.15 | 500.61 | 446.9 | 494.78 | 164388700 | 494.78
2003-04-01 | 397.04 | 452.63 | 393.84 | 450.86 | 231514000 | 450.86
2003-03-04 | 398.74 | 404.47 | 377.41 | 398 | 131381000 | 398
2003-02-03 | 388.23 | 404.93 | 387.95 | 399.22 | 123754700 | 399.22 |  | Risk free rate | 10.5%
2003-01-02 | 423.34 | 423.34 | 407.97 | 409.12 | 120144500 | 409.12 | Source : | Kementerian Keuangan "Hasil Lelang Surat Utang Negara"
Ministry of Finance, Republic of Indonesia "Results of Government Bond bid"
[6 empty] | 6.1947 |  | Market Risk Premium | 19.26%
|  |  |  | Average Market Return |  | 29.76%
Source | http://finance.yahoo.com/q/hp?s=%5EJKSE&a=04&b=1&c=2003&d=03&e=31&f=2010&g=m

## Loan Interest rate
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Loan Schedule |  |  | (all amount in USD)
Year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Annual opening balance |  |  |  | 165400000 | 159886666.6667 | 154373333.3333 | 148860000 | 143346666.6667 | 137833333.3333 | 132320000 | 126806666.6667 | 121293333.3333 | 115780000 | 110266666.6667 | 104753333.3333 | 99240000 | 93726666.6667 | 88213333.3333 | 82700000 | 77186666.6667 | 71673333.3333 | 66160000 | 60646666.6667 | 55133333.3333 | 49620000 | 44106666.6667 | 38593333.3333 | 33080000 | 27566666.6667 | 22053333.3333 | 16540000 | 11026666.6667 | 5513333.3333
Less: annual installment |  | 5513333.3333 |  | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333 | 5513333.3333
Annual closing balance |  |  | 165400000 | 159886666.6667 | 154373333.3333 | 148860000 | 143346666.6667 | 137833333.3333 | 132320000 | 126806666.6667 | 121293333.3333 | 115780000 | 110266666.6667 | 104753333.3333 | 99240000 | 93726666.6667 | 88213333.3333 | 82700000 | 77186666.6667 | 71673333.3333 | 66160000 | 60646666.6667 | 55133333.3333 | 49620000 | 44106666.6667 | 38593333.3333 | 33080000 | 27566666.6667 | 22053333.3333 | 16540000 | 11026666.6667 | 5513333.3333 | 0
Annual interest payment |  | 3.98% |  | 6363489.3333 | 6144058.6667 | 5924628 | 5705197.3333 | 5485766.6667 | 5266336 | 5046905.3333 | 4827474.6667 | 4608044 | 4388613.3333 | 4169182.6667 | 3949752 | 3730321.3333 | 3510890.6667 | 3291460 | 3072029.3333 | 2852598.6667 | 2633168 | 2413737.3333 | 2194306.6667 | 1974876 | 1755445.3333 | 1536014.6667 | 1316584 | 1097153.3333 | 877722.6667 | 658292 | 438861.3333 | 219430.6667 | 0

## IRR - without CDM
Project name: |  | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: |  | 2.4
Prepared by: |  | Arrie Setiawan; Alin Pratidina
Ulubelu II Power Plant
BASE CASE
| Year |  |  | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Power Generation | MWh / year | 867240 |  |  |  |  | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240
| PPA price | USD / MWh | 90 |  |  |  |  | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
| Electricity revenue | USD / year | [5 empty] | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600
| Residual value (last 2 make-up wells) | USD |  | 30: 10169000
| TOTAL INCOME | USD | [5 empty] | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 88220600
| Capital - power plant development | USD | 165400000 | -3: 400000; -2: 41250000; -1: 74250000; 0: 49500000
| Expenses - power plant development | USD | 9900000 | -3: 3300000; -2: 3300000; -1: 3300000; 0: 0
| Capital - steam field development | USD | 94300000 | -3: 18500000; -2: 43700000; -1: 27700000; 0: 4400000
| Expenses - steam field development | USD | 1350000 | -3: 550000; -2: 400000; -1: 400000; 0: 0
| Total Investment | USD | 270950000 | -3: 22750000; -2: 88650000; -1: 105650000; 0: 53900000
| O & M costs | USD / year | 8800000 |  |  |  |  | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000
| Other costs (geothermal make up wells) | USD |  | 2: 12250000; 9: 15940000; 15: 12250000; 21: 15940000; 27: 12250000
| TOTAL COSTS | USD |  | 22750000 | 88650000 | 105650000 | 53900000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 24740000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 24740000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000
| EBITDA | USD |  | -22750000 | -88650000 | -105650000 | -53900000 | 69251600 | 57001600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 53311600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 57001600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 53311600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 57001600 | 69251600 | 69251600 | 79420600
| Insurance | (against operation costs) | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest payment | USD / year | [5 empty] | 6363489.3333 | 6144058.6667 | 5924628 | 5705197.3333 | 5485766.6667 | 5266336 | 5046905.3333 | 4827474.6667 | 4608044 | 4388613.3333 | 4169182.6667 | 3949752 | 3730321.3333 | 3510890.6667 | 3291460 | 3072029.3333 | 2852598.6667 | 2633168 | 2413737.3333 | 2194306.6667 | 1974876 | 1755445.3333 | 1536014.6667 | 1316584 | 1097153.3333 | 877722.6667 | 658292 | 438861.3333 | 219430.6667 | 0
| Total Depreciation for upstream and downstream | USD / year | [5 empty] | 17700000 | 17700000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 20519000 | 11089000 | 11089000 | 9864000 | 9864000 | 9864000 | 11089000 | 11089000 | 11089000 | 11089000 | 9495000 | 1225000 | 2819000 | 2819000 | 2819000 | 2819000 | 1594000 | 1594000 | 2819000 | 2819000 | 2819000
| Cashflow after depreciation (for tax calculation only) | USD | [5 empty] | 45188110.6667 | 33157541.3333 | 44401972 | 44621402.6667 | 44840833.3333 | 45060264 | 45279694.6667 | 45499125.3333 | 29778556 | 44343986.6667 | 53993417.3333 | 54212848 | 55657278.6667 | 55876709.3333 | 43846140 | 55090570.6667 | 55310001.3333 | 55529432 | 55748862.6667 | 57562293.3333 | 50111724 | 64677154.6667 | 64896585.3333 | 65116016 | 65335446.6667 | 66779877.3333 | 54749308 | 65993738.6667 | 66213169.3333 | 76601600
| Geothermal Tax | % | 34% |  |  |  |  | 0 | 15363957.6267 | 11273564.0533 | 15096670.48 | 15171276.9067 | 15245883.3333 | 15320489.76 | 15395096.1867 | 15469702.6133 | 10124709.04 | 15076955.4667 | 18357761.8933 | 18432368.32 | 18923474.7467 | 18998081.1733 | 14907687.6 | 18730794.0267 | 18805400.4533 | 18880006.88 | 18954613.3067 | 19571179.7333 | 17037986.16 | 21990232.5867 | 22064839.0133 | 22139445.44 | 22214051.8667 | 22705158.2933 | 18614764.72 | 22437871.1467 | 22512477.5733
| Cashflow | USD |  | -22750000 | -88650000 | -105650000 | -53900000 | 69251600 | 41637642.3733 | 57978035.9467 | 54154929.52 | 54080323.0933 | 54005716.6667 | 53931110.24 | 53856503.8133 | 37841897.3867 | 59126890.96 | 54174644.5333 | 50893838.1067 | 50819231.68 | 50328125.2533 | 38003518.8267 | 54343912.4 | 50520805.9733 | 50446199.5467 | 50371593.12 | 50296986.6933 | 33740420.2667 | 52213613.84 | 47261367.4133 | 47186760.9867 | 47112154.56 | 47037548.1333 | 34296441.7067 | 50636835.28 | 46813728.8533 | 56908122.4267
| IRR |  | 15.98% | -3: (base case)
Sensitivity Analysis 1
| AMOUNT OF INCREASE IN REVENUES : |  |  | -3: 10%
| Year |  |  | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Power Generation | MWh / year | 953964 |  |  |  |  | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964 | 953964
| PPA price | USD / MWh | 90 |  |  |  |  | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
| Electricity revenue | USD / year | [5 empty] | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760
| Residual value (last 2 make-up wells) | USD |  | 10% 30: 10169000
| TOTAL INCOME | USD | [5 empty] | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 85856760 | 96025760
| Capital - power plant development | USD | 165400000 | 10% -3: 400000; 10% -2: 41250000; 10% -1: 74250000; 10% 0: 49500000
| Expenses - power plant development | USD | 9900000 | 10% -3: 3300000; 10% -2: 3300000; 10% -1: 3300000; 10% 0: 0
| Capital - steam field development | USD | 94300000 | 10% -3: 18500000; 10% -2: 43700000; 10% -1: 27700000; 10% 0: 4400000
| Expenses - steam field development | USD | 1350000 | 10% -3: 550000; 10% -2: 400000; 10% -1: 400000; 10% 0: 0
| Total Investment | USD | 270950000 | 10% -3: 22750000; 10% -2: 88650000; 10% -1: 105650000; 10% 0: 53900000
| O & M costs | USD / year | 8800000 |  |  |  |  | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000
| Other costs (geothermal make up wells) | USD | 12250000 |  |  |  |  | 0 | 12250000 | 0 | 0 | 0 | 0 | 0 | 0 | 15940000 | 0 | 0 | 0 | 0 | 0 | 12250000 | 0 | 0 | 0 | 0 | 0 | 15940000 | 0 | 0 | 0 | 0 | 0 | 12250000 | 0 | 0 | 0
| TOTAL COSTS | USD |  | 22750000 | 88650000 | 105650000 | 53900000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 24740000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 24740000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000
| EBITDA | USD |  | -22750000 | -88650000 | -105650000 | -53900000 | 77056760 | 64806760 | 77056760 | 77056760 | 77056760 | 77056760 | 77056760 | 77056760 | 61116760 | 77056760 | 77056760 | 77056760 | 77056760 | 77056760 | 64806760 | 77056760 | 77056760 | 77056760 | 77056760 | 77056760 | 61116760 | 77056760 | 77056760 | 77056760 | 77056760 | 77056760 | 64806760 | 77056760 | 77056760 | 87225760
| Insurance | (against operation costs) | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest payment | USD / year | [5 empty] | 6363489.3333 | 6144058.6667 | 5924628 | 5705197.3333 | 5485766.6667 | 5266336 | 5046905.3333 | 4827474.6667 | 4608044 | 4388613.3333 | 4169182.6667 | 3949752 | 3730321.3333 | 3510890.6667 | 3291460 | 3072029.3333 | 2852598.6667 | 2633168 | 2413737.3333 | 2194306.6667 | 1974876 | 1755445.3333 | 1536014.6667 | 1316584 | 1097153.3333 | 877722.6667 | 658292 | 438861.3333 | 219430.6667 | 0
| Total Depreciation for upstream and downstream | USD / year | [5 empty] | 17700000 | 17700000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 20519000 | 11089000 | 11089000 | 9864000 | 9864000 | 9864000 | 11089000 | 11089000 | 11089000 | 11089000 | 9495000 | 1225000 | 2819000 | 2819000 | 2819000 | 2819000 | 1594000 | 1594000 | 2819000 | 2819000 | 2819000
| Cashflow after depreciation (for tax calculation only) | USD | [5 empty] | 52993270.6667 | 40962701.3333 | 52207132 | 52426562.6667 | 52645993.3333 | 52865424 | 53084854.6667 | 53304285.3333 | 37583716 | 52149146.6667 | 61798577.3333 | 62018008 | 63462438.6667 | 63681869.3333 | 51651300 | 62895730.6667 | 63115161.3333 | 63334592 | 63554022.6667 | 65367453.3333 | 57916884 | 72482314.6667 | 72701745.3333 | 72921176 | 73140606.6667 | 74585037.3333 | 62554468 | 73798898.6667 | 74018329.3333 | 84406760
| Geothermal Tax | % | 34% |  |  |  |  | 0 | 18017712.0267 | 13927318.4533 | 17750424.88 | 17825031.3067 | 17899637.7333 | 17974244.16 | 18048850.5867 | 18123457.0133 | 12778463.44 | 17730709.8667 | 21011516.2933 | 21086122.72 | 21577229.1467 | 21651835.5733 | 17561442 | 21384548.4267 | 21459154.8533 | 21533761.28 | 21608367.7067 | 22224934.1333 | 19691740.56 | 24643986.9867 | 24718593.4133 | 24793199.84 | 24867806.2667 | 25358912.6933 | 21268519.12 | 25091625.5467 | 25166231.9733
| Cashflow | USD |  | -22750000 | -88650000 | -105650000 | -53900000 | 77056760 | 46789047.9733 | 63129441.5467 | 59306335.12 | 59231728.6933 | 59157122.2667 | 59082515.84 | 59007909.4133 | 42993302.9867 | 64278296.56 | 59326050.1333 | 56045243.7067 | 55970637.28 | 55479530.8533 | 43154924.4267 | 59495318 | 55672211.5733 | 55597605.1467 | 55522998.72 | 55448392.2933 | 38891825.8667 | 57365019.44 | 52412773.0133 | 52338166.5867 | 52263560.16 | 52188953.7333 | 39447847.3067 | 55788240.88 | 51965134.4533 | 62059528.0267
| IRR |  | 17.46% | 10% -3: (increase in revenues)
Sensitivity Analysis 2
| AMOUNT OF REDUCTION IN INVESTMENT COSTS : |  |  | 10% -3: 10%
| Year |  |  | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Power Generation | MWh / year | 867240 |  |  |  |  | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240
| PPA price | USD / MWh | 90 |  |  |  |  | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
| Electricity revenue | USD / year | [5 empty] | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600
| Residual value (last 2 make-up wells) | USD |  | 10% 30: 10169000
| TOTAL INCOME | USD | [5 empty] | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 88220600
| Capital - power plant development | USD | 148860000 | 10% -3: 360000; 10% -2: 37125000; 10% -1: 66825000; 10% 0: 44550000
| Expenses - power plant development | USD | 8910000 | 10% -3: 2970000; 10% -2: 2970000; 10% -1: 2970000; 10% 0: 0
| Capital - steam field development | USD | 84870000 | 10% -3: 16650000; 10% -2: 39330000; 10% -1: 24930000; 10% 0: 3960000
| Expenses - steam field development | USD | 1215000 | 10% -3: 495000; 10% -2: 360000; 10% -1: 360000; 10% 0: 0
| Total Investment | USD | 243855000 | 10% -3: 20475000; 10% -2: 79785000; 10% -1: 95085000; 10% 0: 48510000
| O & M costs | USD / year | 8800000 |  |  |  |  | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000
| Other costs (geothermal make up wells) | USD | 12250000 |  |  |  |  | 0 | 12250000 | 0 | 0 | 0 | 0 | 0 | 0 | 15940000 | 0 | 0 | 0 | 0 | 0 | 12250000 | 0 | 0 | 0 | 0 | 0 | 15940000 | 0 | 0 | 0 | 0 | 0 | 12250000 | 0 | 0 | 0
| TOTAL COSTS | USD |  | 20475000 | 79785000 | 95085000 | 48510000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 24740000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 24740000 | 8800000 | 8800000 | 8800000 | 8800000 | 8800000 | 21050000 | 8800000 | 8800000 | 8800000
| EBITDA | USD |  | -20475000 | -79785000 | -95085000 | -48510000 | 69251600 | 57001600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 53311600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 57001600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 53311600 | 69251600 | 69251600 | 69251600 | 69251600 | 69251600 | 57001600 | 69251600 | 69251600 | 79420600
| Insurance | (against operation costs) | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest payment | USD / year | [5 empty] | 6363489.3333 | 6144058.6667 | 5924628 | 5705197.3333 | 5485766.6667 | 5266336 | 5046905.3333 | 4827474.6667 | 4608044 | 4388613.3333 | 4169182.6667 | 3949752 | 3730321.3333 | 3510890.6667 | 3291460 | 3072029.3333 | 2852598.6667 | 2633168 | 2413737.3333 | 2194306.6667 | 1974876 | 1755445.3333 | 1536014.6667 | 1316584 | 1097153.3333 | 877722.6667 | 658292 | 438861.3333 | 219430.6667 | 0
| Total Depreciation for upstream and downstream | USD / year | [5 empty] | 15930000 | 15930000 | 17032500 | 17032500 | 17032500 | 17032500 | 17032500 | 17032500 | 17032500 | 18467100 | 9980100 | 9980100 | 8877600 | 8877600 | 8877600 | 9980100 | 9980100 | 9980100 | 9980100 | 8545500 | 1102500 | 2537100 | 2537100 | 2537100 | 2537100 | 1434600 | 1434600 | 2537100 | 2537100 | 2537100
| Cashflow after depreciation (for tax calculation only) | USD | [5 empty] | 46958110.6667 | 34927541.3333 | 46294472 | 46513902.6667 | 46733333.3333 | 46952764 | 47172194.6667 | 47391625.3333 | 31671056 | 46395886.6667 | 55102317.3333 | 55321748 | 56643678.6667 | 56863109.3333 | 44832540 | 56199470.6667 | 56418901.3333 | 56638332 | 56857762.6667 | 58511793.3333 | 50234224 | 64959054.6667 | 65178485.3333 | 65397916 | 65617346.6667 | 66939277.3333 | 54908708 | 66275638.6667 | 66495069.3333 | 76883500
| Geothermal Tax | % | 34% |  |  |  |  | 0 | 15965757.6267 | 11875364.0533 | 15740120.48 | 15814726.9067 | 15889333.3333 | 15963939.76 | 16038546.1867 | 16113152.6133 | 10768159.04 | 15774601.4667 | 18734787.8933 | 18809394.32 | 19258850.7467 | 19333457.1733 | 15243063.6 | 19107820.0267 | 19182426.4533 | 19257032.88 | 19331639.3067 | 19894009.7333 | 17079636.16 | 22086078.5867 | 22160685.0133 | 22235291.44 | 22309897.8667 | 22759354.2933 | 18668960.72 | 22533717.1467 | 22608323.5733
| Cashflow | USD |  | -20475000 | -79785000 | -95085000 | -48510000 | 69251600 | 41035842.3733 | 57376235.9467 | 53511479.52 | 53436873.0933 | 53362266.6667 | 53287660.24 | 53213053.8133 | 37198447.3867 | 58483440.96 | 53476998.5333 | 50516812.1067 | 50442205.68 | 49992749.2533 | 37668142.8267 | 54008536.4 | 50143779.9733 | 50069173.5467 | 49994567.12 | 49919960.6933 | 33417590.2667 | 52171963.84 | 47165521.4133 | 47090914.9867 | 47016308.56 | 46941702.1333 | 34242245.7067 | 50582639.28 | 46717882.8533 | 56812276.4267
| IRR |  | 17.43% | 10% -3: (decrease in investment costs)
Sensitivity Analysis 3
| AMOUNT OF REDUCTION IN OPERATION COSTS : |  |  | 10% -3: 10%
| Year |  |  | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Power Generation | MWh / year | 867240 |  |  |  |  | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240 | 867240
| PPA price | USD / MWh | 90 |  |  |  |  | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
| Electricity revenue | USD / year | [5 empty] | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600
| Residual value (last 2 make-up wells) | USD |  | 10% 30: 10169000
| TOTAL INCOME | USD | [5 empty] | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 78051600 | 88220600
| Capital - power plant development | USD | 165400000 | 10% -3: 400000; 10% -2: 41250000; 10% -1: 74250000; 10% 0: 49500000
| Expenses - power plant development | USD | 9900000 | 10% -3: 3300000; 10% -2: 3300000; 10% -1: 3300000; 10% 0: 0
| Capital - steam field development | USD | 94300000 | 10% -3: 18500000; 10% -2: 43700000; 10% -1: 27700000; 10% 0: 4400000
| Expenses - steam field development | USD | 1350000 | 10% -3: 550000; 10% -2: 400000; 10% -1: 400000; 10% 0: 0
| Total Investment | USD | 270950000 | 10% -3: 22750000; 10% -2: 88650000; 10% -1: 105650000; 10% 0: 53900000
| O & M costs | USD / year | 7920000 |  |  |  |  | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000
| Other costs (geothermal make up wells) | USD | 0 |  |  |  |  | 0 | 12250000 | 0 | 0 | 0 | 0 | 0 | 0 | 15940000 | 0 | 0 | 0 | 0 | 0 | 12250000 | 0 | 0 | 0 | 0 | 0 | 15940000 | 0 | 0 | 0 | 0 | 0 | 12250000 | 0 | 0 | 0
| TOTAL COSTS | USD |  | 22750000 | 88650000 | 105650000 | 53900000 | 7920000 | 20170000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 23860000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 20170000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 23860000 | 7920000 | 7920000 | 7920000 | 7920000 | 7920000 | 20170000 | 7920000 | 7920000 | 7920000
| EBITDA | USD |  | -22750000 | -88650000 | -105650000 | -53900000 | 70131600 | 57881600 | 70131600 | 70131600 | 70131600 | 70131600 | 70131600 | 70131600 | 54191600 | 70131600 | 70131600 | 70131600 | 70131600 | 70131600 | 57881600 | 70131600 | 70131600 | 70131600 | 70131600 | 70131600 | 54191600 | 70131600 | 70131600 | 70131600 | 70131600 | 70131600 | 57881600 | 70131600 | 70131600 | 80300600
| Insurance | (against operation costs) | 0% |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest payment | USD / year | [5 empty] | 6363489.3333 | 6144058.6667 | 5924628 | 5705197.3333 | 5485766.6667 | 5266336 | 5046905.3333 | 4827474.6667 | 4608044 | 4388613.3333 | 4169182.6667 | 3949752 | 3730321.3333 | 3510890.6667 | 3291460 | 3072029.3333 | 2852598.6667 | 2633168 | 2413737.3333 | 2194306.6667 | 1974876 | 1755445.3333 | 1536014.6667 | 1316584 | 1097153.3333 | 877722.6667 | 658292 | 438861.3333 | 219430.6667 | 0
| Total Depreciation for upstream and downstream | USD / year | [5 empty] | 17700000 | 17700000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 20519000 | 11089000 | 11089000 | 9864000 | 9864000 | 9864000 | 11089000 | 11089000 | 11089000 | 11089000 | 9495000 | 1225000 | 2819000 | 2819000 | 2819000 | 2819000 | 1594000 | 1594000 | 2819000 | 2819000 | 2819000
| Cashflow after depreciation (for tax calculation only) | USD | [5 empty] | 46068110.6667 | 34037541.3333 | 45281972 | 45501402.6667 | 45720833.3333 | 45940264 | 46159694.6667 | 46379125.3333 | 30658556 | 45223986.6667 | 54873417.3333 | 55092848 | 56537278.6667 | 56756709.3333 | 44726140 | 55970570.6667 | 56190001.3333 | 56409432 | 56628862.6667 | 58442293.3333 | 50991724 | 65557154.6667 | 65776585.3333 | 65996016 | 66215446.6667 | 67659877.3333 | 55629308 | 66873738.6667 | 67093169.3333 | 77481600
| Geothermal Tax | % | 34% |  |  |  |  | 0 | 15663157.6267 | 11572764.0533 | 15395870.48 | 15470476.9067 | 15545083.3333 | 15619689.76 | 15694296.1867 | 15768902.6133 | 10423909.04 | 15376155.4667 | 18656961.8933 | 18731568.32 | 19222674.7467 | 19297281.1733 | 15206887.6 | 19029994.0267 | 19104600.4533 | 19179206.88 | 19253813.3067 | 19870379.7333 | 17337186.16 | 22289432.5867 | 22364039.0133 | 22438645.44 | 22513251.8667 | 23004358.2933 | 18913964.72 | 22737071.1467 | 22811677.5733
| Cashflow | USD |  | -22750000 | -88650000 | -105650000 | -53900000 | 70131600 | 42218442.3733 | 58558835.9467 | 54735729.52 | 54661123.0933 | 54586516.6667 | 54511910.24 | 54437303.8133 | 38422697.3867 | 59707690.96 | 54755444.5333 | 51474638.1067 | 51400031.68 | 50908925.2533 | 38584318.8267 | 54924712.4 | 51101605.9733 | 51026999.5467 | 50952393.12 | 50877786.6933 | 34321220.2667 | 52794413.84 | 47842167.4133 | 47767560.9867 | 47692954.56 | 47618348.1333 | 34877241.7067 | 51217635.28 | 47394528.8533 | 57488922.4267
| IRR |  | 16.15% | 10% -3: (decrease in operation costs)

## Depreciation
Project name: | Project Ulubelu Unit 3 - 4 PT. Pertamina Geothermal Energy
Version: | 2.4
Prepared by: | Arrie Setiawan; Alin Pratidina
Depreciation calculation |  |  | All amount in USD
Year |  | Depreciation years | (in %) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Depreciation downstream, Y0 |  | 20 | 5% | 165400000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000 | 8270000
Depreciation upstream, Y0 |  | 10 | 10% | 94300000 | 1: 9430000; 2: 9430000; 3: 9430000; 4: 9430000; 5: 9430000; 6: 9430000; 7: 9430000; 8: 9430000; 9: 9430000; 10: 9430000
Depreciation upstream (make-up well), Y2 |  |  |  | 12250000 | 3: 1225000; 4: 1225000; 5: 1225000; 6: 1225000; 7: 1225000; 8: 1225000; 9: 1225000; 10: 1225000; 11: 1225000; 12: 1225000
Depreciation upstream (make-up well), Y9 |  |  |  | 15940000 | 10: 1594000; 11: 1594000; 12: 1594000; 13: 1594000; 14: 1594000; 15: 1594000; 16: 1594000; 17: 1594000; 18: 1594000; 19: 1594000
Depreciation upstream (make-up well), Y15 |  |  |  | 12250000 | 16: 1225000; 17: 1225000; 18: 1225000; 19: 1225000; 20: 1225000; 21: 1225000; 22: 1225000; 23: 1225000; 24: 1225000; 25: 1225000
Depreciation upstream (make-up well), Y21 |  |  |  | 15940000 | 22: 1594000; 23: 1594000; 24: 1594000; 25: 1594000; 26: 1594000; 27: 1594000; 28: 1594000; 29: 1594000; 30: 1594000
Depreciation upstream (make-up well), Y27 |  |  |  | 12250000 | 28: 1225000; 29: 1225000; 30: 1225000
Total depreciation for upstream and downstream |  |  |  |  | 17700000 | 17700000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 18925000 | 20519000 | 11089000 | 11089000 | 9864000 | 9864000 | 9864000 | 11089000 | 11089000 | 11089000 | 11089000 | 9495000 | 1225000 | 2819000 | 2819000 | 2819000 | 2819000 | 1594000 | 1594000 | 2819000 | 2819000 | 2819000
Residual value calculation |  |  | All amount in USD
Year |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Residual value for make-up well, Y21 |  |  |  |  | 30: 1594000
Residual value for make-up well, Y27 |  |  |  |  | 30: 8575000
Total residual value (last 2 make-up wells) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10169000