| Project design document form for CDM project activities (Version 06.0) |  |
| --- | --- |
| Complete this form in accordance with the Attachment “Instructions for filling out the project design document form for CDM project activities” at the end of this form. |  |
| PROJECT DESIGN DOCUMENT (PDD) |  |
| Title of the project activity | Prony and Kafeate wind-farms, New Caledonia |
| Version number of the PDD | 1 |
| Completion date of the PDD |  |
| Project participant(s) | Alizes Energie (private entity) South Pole Carbon Asset Management Ltd. (private entity) |
| Host Party | New Caledonia |
| Sectoral scope and selected methodology(ies), and where applicable, selected standardized baseline(s) | Sectoral Scope 1: Energy Industries (renewable/non-renewable sources) Type 1: Renewable energy projects |
| Estimated amount of annual average GHG emission reductions |  |

  - Description of project activity

    - Purpose and general description of project activity

>>The project activity involves six wind farms located in two different sites (Kafeate and Prony) in New Caledonia (NC). These wind-farms are now owned and operated by  Alizés Energie a French based company.  Between the years 2003 and 2009, Aerowatt installed 116 wind turbines at these two sites providing a total capacity of circa 31 MW with an estimated yearly production of 40 GWh. The generated electricity is exported to the New Caledonian grid. The project therefore replaces grid electricity that is at 80% produced by fossil-fuel power plants. Alizes - energie took over the entire project in parts, first acquisition in 2012 and second acquisition in 2015.

New Caledonia is located in a cyclonic area of the globe, therefore the wind turbines used are the GEV MP and GEV 26/220 wind-turbines manufactured by Vergnet SA in France which can be tilted down in the event of a cyclonic alert.

The project contributes significantly to the region’s sustainable development. The specific goals for the project are to:

- Reduce the greenhouse gas emissions in New Caledonia by replacing fossil fuel power generation,

- Contribute to the development of the wind energy sector in New Caledonia,

- Create local employment during both the construction and operational phases,

- Stimulate technology and know-how transfer,

- Contribute to the reduction of pollutants such as sulphur dioxide, nitrogen oxides and particles resulting from the electricity generation from fossil fuels in New Caledonia, and

- Reduce the dependency on energy imports.

Figure 1: GEV 26/220 wind-turbine in Prony.

Moreover, the Pacific islands region faces increasing environmental and socioeconomic pressures exacerbated by global climate change and climate variability. Under the United Nations Framework Convention on Climate Change (UNFCCC), small island developing states are recognized as being particularly vulnerable to climate change. Even without climate change, Pacific island countries are already severely affected by climate variability and extremes, and they remain extremely vulnerable to future changes in the regional climate that could increase the risks.

Unfortunately, several factors, such as the limited size of projects, the low knowledge of CDM, and/or the detachment, have so far limited the development of CDM activities in the Pacific region (only one CDM has been developed in Fiji). The project participants therefore also see the development of this first GS-VER project activity as a strong positive signal for future emission reduction projects in the Pacific region.

    - Location of project activity

      - Host Party

>>New Caledonia

      - Region/State/Province etc.

>>South Province and North Province

      - City/Town/Community etc.

>> Village of Mont Dore; Village of Koné

      - Physical/Geographical location

>> The Prony site is located in the South province of New Caledonia in the village of Mont Dore. The Kafeate The following table site is located in the North province in the village of Koné.

Following table indicates the GPS position for the sites.

| Site | Capacity (kW) | Town | GPS Position (Google Earth) |
| --- | --- | --- | --- |
| Prony | 19,195 | Mont Dore | 22°19"S ; 166°49"E |
| Kafeate | 11,550 | Koné | 20°57” S ; 164°41” E |

The locations are depicted in the picture below.

Figure 2: Location in New Caledonia

    - Technologies and/or measures

>> The project activity involves the generation of renewable energy from wind. It thereby displaces grid electricity that is at 80% produced by fuel-based power plants. The wind-driven blades are connected to an electricity generator, which produces electrical energy and supplies it to the grid without storage.

Vergnet, a French turbine manufacturer, has been selected as technology provider due to the quality of its products in terms of high reliability, low maintenance requirements, grid-friendliness and overall for the robustness of the wind turbines which can sustain hurricane winds.

Each wind-farm is built in different phases, which are owned and operated by a dedicated subsidiary of Aerowatt. Each subsidiary is incorporated in NC.

| Name | Site | Subsidiary | Total Nominal Power (kW) | Number of machines | Model | Operation start |
| --- | --- | --- | --- | --- | --- | --- |
| Prony II | Prony | Eole Prony II | 4,620 | 21 | Vergnet GEV 26/220 | 2003/12 |
| Kafeate I | Kafeate | Eole Kafeate | 6,050 | 22 | Vergnet GEV MP | 2005/03 |
| Kafeate II | Kafeate | Eole Kafeate II | 5,500 | 20 | Vergnet GEV MP | 2005/11 |
| Prony III | Prony | Eole Prony III | 5,500 | 20 | Vergnet GEV MP | 2006/12 |
| Mont Mau | Prony | Eole Mont Mau | 4,125 | 15 | Vergnet GEV MP | 2007/12 |
| Touongo | Prony | Eole Touongo | 4,950 | 18 | Vergnet GEV MP | 2009/01 |
| Total |  |  | 30,745 | 116 |  |  |

New Caledonia is in a cyclonic area. The wind turbines used are the Vergnet GEV MP and Vergnet GEV 26/220 wind-turbines manufactured by Vergnet SA in France which can be tilted down in the event of a cyclonic alert.

Table 1: Wind turbine characteristics

|  | GEV MP | GEV 26/220 |
| --- | --- | --- |
| Nominal power | 275 kW | 220 kW |
| Number of blades | 2 | 2 |
| Tower height | 55 m |  |
| Total weight | 20 t |  |
| Rotor diameter | 32 m | 26 m |
| Swept area | 804 m2 | 507 m2 |

The GEV MP and the GEV 26/220 are light, collapsible and robust. They can resist even very violent winds.

Figure 3: GEV MP 275kW in operation and tilted down for maintenance.

The 275-kW GEV MP and the GEV 26/220 are used for wind farms with capacities between 1 and 10 MW. These machines have a mast height between 55 and 60 meters, which allows them to rise very high when “searching” for winds. Blade diameter varies from 26 to 32 meters, in inverse proportion to the average wind speed at the site. They produce respectively 275 kW and 220kW at 50 or 60Hz. Thanks to their guyed mast, they can be lowered quickly and easily in case of violent winds (cyclones, typhoons…), eliminating the risk of equipment destruction.

To facilitate installation and maintenance, as in the event of a cyclonic alert, GEV MP and GEV 26/220 devices are light, easy to transport, and can be erected by two technicians without using any heavy-duty lifting apparatus.

Figure 4: Kafeate (left) and Prony (right) wind farms

The choice of the VERGNET S.A. constructor for the wind turbine is motivated by the hurricane-proof characteristic. VERGNET S.A. is the only company constructing wind turbines adapted to very high wind-prone areas and able to sustain up to Category 5 hurricane winds.

    - Parties and project participants

| Party involved (host) indicates host Party | Private and/or public entity(ies) project participants (as applicable) | Indicate if the Party involved wishes to be considered as project participant (Yes/No) |
| --- | --- | --- |
| New Caledonia (Host) | Alizes Energie(private entity) | No |
| Switzerland | South Pole Carbon Asset Management Ltd. (private entity) | No |

    - Public funding of project activity

>> The project activity’s financing plan contains some subsidies from the French and Caledonian governments. As New Caledonia is not part of the DAC list, the subsidy coming from the French government cannot be considered as ODA.

  - Application of selected approved baseline and monitoring methodology and standardized baseline

    - Reference of methodology and standardized baseline

>> The approved consolidated baseline and monitoring methodology ACM0002 “Consolidated baseline methodology for grid-connected electricity generation from renewable sources” (Version 16) has been used.

The methodology was applied with the following tools:

- “Tool to calculate the emission factor for an electricity system” (Version 5)

- “Tool for the demonstration and assessment of additionality” (Version 7)

For more information about the methodology, the emission factor tool and the additionality tool please refer to the website:

http://cdm.unfccc.int/methodologies/PAmethodologies/approved.html

    - Applicability of methodology and standardized baseline

>> The methodology referenced above is applicable to this project activity because it fulfils the required criteria:

- The project consists of a wind power electricity capacity addition and is a grid-connected electricity generation project;

- The project does not involve switching from fossil fuel use to renewable energy at the site of the project activity; and

- The geographic and system boundaries for the relevant electricity grid can be clearly identified (New Caledonian Grid) and 3 years of information on the characteristics of the grid is available (from the New Caledonian Electricity producer: ENERCAL). www.enercal.nc

    - Project boundary

According to the methodology ACM0002, since the proposed project is a grid connected wind power project, only CO2 emissions from fossil fuel-fired power plants in the baseline scenario need to be considered.

| Source |  | GHGs | Included? | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline | Fossil fuel-fired power | CO2 | Yes | Main emissions source |
|  |  | CH4 | No | Excluded for simplification. This is conservative. |
|  |  | N2O | No | Excluded for simplification. This is conservative. |
|  |  | … |  |  |
|  | Source 2 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | … | … |  |  |
|  |  | … |  |  |
|  |  | … |  |  |
| Project scenario | Source 1 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | Source 2 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | … | … |  |  |
|  |  | … |  |  |
|  |  | … |  |  |

The spatial extent of the grid is as defined in the “Tool to calculate the emission factor for an electricity system”. The PDD will discuss the spatial extent of the grid in detail in section B.6 below.

    - Establishment and description of baseline scenario

>> According to the description in the approved baseline methodology ACM0002, for project activities that consist of the installation of a new grid-connected renewable power plant/unit, the baseline scenario is the following:

“Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in the “Tool to calculate the emission factor for an electricity system”.

The definition and description of the combined margin that supports the baseline scenario is shown below in Annex 3.

    - Demonstration of additionality

>> As prescribed by the Gold Standard the projects’ additionality is demonstrated through use of the Tool for the demonstration and assessment of additionality (version 7).

Additionality section for Kafeate I and II

Kafeate I and II were planned and built in parallel. They occupy the same site and share the same substation and permits. There are legally two distinct companies but are parts of the same project. Therefore, we will group the wind-farms of Kafeate I and II for this additionality demonstration.

STEP 1. Identification of alternatives to the project activity consistent with current laws and regulations

This step involves the definition of realistic and credible alternatives to the project activity that can be part of the baseline scenario.

Sub-step 1a. Define alternatives to the project activity:

Aerowatt is a company created and entirely dedicated to renewable energy (wind and more recently PV) projects.  In a situation where the proposed project activity would not be implemented, the shareholders of Aerowatt do not have any alternative investment option, which generates a similar amount of electricity production as the proposed VER project activity. The only alternative to the project activity, therefore, would be “no action” from the project participants.

Considering the above, the following alternatives have been identified, for the generation of the amount of electricity generated by the project activity:

Alternative A wind-farm is built without VER credits

Alternative B The same amount of electricity is produced by other facilities not under the control of project participant (No action from the investors). Aerowatt focuses its activities in France where more than 75% of its activities are located.

Sub-step 1b. Enforcement of applicable laws and regulations

The mandatory preliminary permits have been obtained for the project activity, showing that it is in compliance with the current laws and regulations.

All the alternatives to the project outlined in Step 1a above are in compliance with applicable laws and regulations.

For the demonstration of additionality, we choose to conduct an investment analysis.

Step 3. Barrier analysis

Kafeate I&II was constructed and designed in parallel. Kafeate I and II share the same location, substation and can be considered as the first of their kind because there are the first applications of the hurricane proof turbines GEV MP in the Pacific and outside the EU. These wind-farms were also still among the first IPP experience in NC and first for the Northern- Province of NC (Prony I&II that were built before are located in the southern province).

Kafeate I&II have been therefore the field test for this model of hurricane proof wind-turbines and have suffered and still suffer from the experimental component of this project as:

- Grid limitation from the grid operator (the max output of the wind farm has been capped to 8.2MW by the grid operator instead of 11.55MW)

- Turbine performance and availability are lower than expected. Many maintenance problems were and are still observed

- Wind resource is lower than expected

All these problems clearly showing the experimental aspect of this technology have been amply described and assessed by an independent auditor called Castalia in 2007 in their report (See pages 32 to 36).

Kafeate I and II are the first application worldwide of the GEV-MP; it can therefore be defined as first of its kind.

As stated by the Methodological panel, if “a project activity is “first-of-its-kind”, it is clear that implementation of the specific technology is not yet “common practice”. If a project activity is “first-of-its-kind”, no additional assessment steps are undertaken to confirm additionality.”

Step 4: Common practice analysis

Sub-step 4a. Analyze other activities similar to the proposed project activity:

The list of all wind-farms built in NC and connected to the grid is provided below:

- Table 2 : Wind Farms in New Caledonia in 2016.

| Name | Total Nominal Power (kW) | Number of machines | Owner | IPP | Operation start date |
| --- | --- | --- | --- | --- | --- |
| Mont Négandi | 3825 | 17 | Alizés Energie (AE) | Yes | 1996/09 |
| Prony I | 2200 | 10 | AE | Yes | 2002/12 |
| Prony II | 4620 | 21 | AE | Yes | 2003/12 |
| Kafeate I | 6050 | 22 | AE | Yes | 2005/03 |
| Kafeate II | 5500 | 20 | AE | Yes | 2005/11 |
| Prony III | 5500 | 20 | AE | Yes | 2006/12 |
| Mont Mau | 4125 | 15 | AE | Yes | 2007/12 |

Sub-step 4b. Discuss any similar options that are occurring:

Only two wind power plants with comparable installed capacities can be identified; which are Mont-Négandi, built in  1996, and Prony I, built in 2002.

Mont-Négandi wind-farm is not comparable to the proposed project activities for the following reasons:

- Mont-Négandi uses a Vestas technology not adapted to the cyclonic area (the wind-farm was partially destroyed in 2003 by tropical storm Erica)

- The investment cost per MW installed is lower (due to the technology choice) and was financed differently (at the time of construction, the tax-exemption system was not yet enforced)

Prony I uses a similar technology and financing model (based on tax exemption) but is very different from the other wind-farms built by Aerowatt, as it benefited from a more profitable grid-tariff (13 CFP/kWh indexed on inflation instead of 11CFP/kWh not indexed for the other wind-farms built by Aerowatt). Prony I is facing several barriers but benefits from a better grid-tariff than the other wind-farms included in this bundle.

Therefore the proposed project activities cannot be defined as common practice in NC.

Conclusion of the additionality section

Kafeate is not likely to be financially attractive and is not a common practice in New Caledonia, it is therefore considered as additional.

Additionality section for Prony II

STEP 1. Identification of alternatives to the project activity consistent with current laws and regulations

As for Kafeate step 1 (see above).

For the demonstration of additionality, we choose to conduct a barrier analysis.

Step 3. Barrier analysis

Prony II was constructed and designed in parallel with Prony I in 2002. Prony I and II share the same location, substation and can be considered as the first of their kind for several reasons:

- Prony I and II wind-farms are the first applications at that scale of a hurricane proof turbines in the Pacific and outside the EU. The GEV 26/200 is the first model of the 200kW class turbines family from Vergnet. The precedent models from Vergnet were significantly smaller and had only a 60kW rated capacity, which was mostly used for stand-alone applications or small isolated grids.

- Prony I and II are also the first IPP wind-farms built in NC. It was also the first wind-farm project financed through the “tax-exemption” principle.

Prony I&II has been therefore the field test for the 200kW class hurricane proof wind-turbines, it hence amply suffered from the lack of experience and track records for wind-farms in tropical areas using Vergnet technology. Prony II has faced many technical and institutional problems since the start of its operation. Castalia has amply described all these problems clearly showing the experimental aspect of this technology in 2007 in their report (See pages 28 to 30). This had a huge consequence on the profitability of the project, which is estimated to 4.1% (see page 91), which is definitely lower from what was originally expected for this project.

Prony II (contemporary to Prony I) is the first application in the Pacific and outside the EU of the Vergnet 200 kW class technology; it can therefore be defined as first of its kind.

As stated by the Methodological panel, if “a project activity is “first-of-its-kind”, it is clear that implementation of the specific technology is not yet “common practice”. If a project activity is “first-of-its-kind”, no additional assessment steps are undertaken to confirm additionality.”

Step 4. Common practice analysis

Not required as the project has successfully proved to be the first of its kind.

Conclusion of the additionality section

As Prony II has successfully proved to be the “first of its kind”, it is considered as additional.

Additionality section for Prony III and Mont Mau

Prony III and Mont Mau are located at the same place; share the same substation, construction permit and PPA. These two projects are indeed two phases of the same wind-farm.

STEP 1. Identification of alternatives to the project activity consistent with current laws and regulations

As in Kafeate step 1 (see above).

For the demonstration of additionality, we choose to conduct an investment analysis.

STEP 2. Investment Analysis

Sub-step 2a. Determine appropriate analysis method

As the project activity and the alternative identified in Step 1 do have related financial benefits other than VERs; a benchmark analysis (Option III) is used.

As alternative B does not include any investment nor revenues, no benchmark analysis will be applied. Only alternative A will further undergo a benchmark analysis together with the project activity.

Sub-step 2b. Option III. Apply benchmark analysis

The economic indicator most suitable for the project type and decision context is the project IRR.

A relevant benchmark for a project’s IRR can be derived from the New Caledonian government who considers 12% as a minimum IRR for renewable energy projects in New Caledonia.

Sub-step 2c. Calculation and comparison of financial indicators

The key economic indicators of the project activity (project IRR) are based on information available in the request for subsidies formulated by Aerowatt for each wind-farm. Each request for subsidies contains all technical and financial data available just a few months before Aerowatt decided to invest in the project.

- Table 3: main financial indicators used for the financial analysis

|  | Total Investment | Subsidies French Government | Subsidies NC government | Investment operator | Feeding tariff | Expected production |
| --- | --- | --- | --- | --- | --- | --- |
| Source | Subsidy request | Subsidy request | Subsidy request | Calculated | Deliberation n°407 from the 4/11/2003 | Subsidy request |
|  | € | € | € | € | €/kWh | MWh |
| Prony III | 12'620'932 | 3'878'314 | 3'459'491 | 5'283'126 | 0.092 | 9’760 |
| Mont Mau | 8'668'830 | 3'684'257 | 2'805'000 | 2'179'573 | 0.092 | 7’852 |
| Touongo | 11'732'839 | 3'375'220 | 3'962'106 | 4'395'513 | 0.092 | 9’400 |

The IRR of both Prony III and Mont-Mau projects is 6.9% without VERs and 9.7% with VERs.

In accordance with benchmark analysis (Option III), the financial indicators for Prony III and Mont-Mau are below the benchmark and appear not to be economically attractive.

Sub-step 2d. Sensitivity analysis

The project IRR could significantly vary when certain parameters are changed. In the following sensitivity analysis, electricity revenues and the operator investment are increased and decreased by 5% and 10%. The results are presented below.

| Investment cost |  | O&M |  | Generation |  |
| --- | --- | --- | --- | --- | --- |
|  | IRR % |  | (IRR %) |  | (IRR %) |
| -10% | 8.6% | -10% | 8.2% | -10.0% | 3.7% |
| -5% | 7.7% | -5% | 7.6% | -5.0% | 5.3% |
| 0% | 6.9% | 0% | 6.9% | 0.0% | 6.9% |
| 5% | 6.1% | 5% | 6.2% | 5.0% | 8.3% |
| 10% | 5.4% | 10% | 5.4% | 10.0% | 9.7% |

- Table 4: IRR sensitivity analysis for Prony III and mont-Mau

The IRR of both Prony III and Mont Mau is not likely to pass the benchmark if investment costs, O&M or electricity generation are decreased or increased respectively.

The project IRR is therefore very unlikely to be above the benchmark, and the project is therefore additional. Additional revenues from the sale of the emission reductions could mitigate this high risk profile and low profitability of the project.

Step 4: Common practice analysis

As for Kafeate common practice analysis.

Conclusion of the additionality section

Mont-Mau and Prony III project is not likely to be financially attractive and is not a common practice in New Caledonia, it is therefore additional.

Additionality section for Touongo

STEP 1. Identification of alternatives to the project activity consistent with current laws and regulations

As for Kafeate (see above)

For the demonstration of additionality, we choose to conduct an investment analysis.

Step 2. Investment Analysis

Sub-step 2a. Determine appropriate analysis method

As for Prony III and Mont-Mau (see above).

Sub-step 2c. Calculation and comparison of financial indicators

The economic key indicators of the project activity (project IRR) are based on information available in the request for subsidies formulated by Aerowatt for each wind-farm. Each request for subsidies contains all technical and financial data available just before Aerowatt decided to invest in the project.

The IRR of Touongo is 9.0% without VERs and 11.7% with VERs.

In accordance with benchmark analysis (Option III), the financial indicators of Touongo are below the benchmark and appear not to be economically attractive.

Sub-step 2d. Sensitivity analysis

The project IRR could significantly vary when certain parameters are changed. In the following sensitivity analysis, electricity revenues and the operator investment are increased and decreased by 5% and 10%. The results are presented below.

| Investment cost |  | O&M |  | Generation |  |
| --- | --- | --- | --- | --- | --- |
|  | IRR % |  | (IRR %) |  | (IRR %) |
| -10% | 10.9% | -10% | 10.1% | -10.0% | 6.0% |
| -5% | 9.9% | -5% | 9.6% | -5.0% | 7.5% |
| 0% | 9.0% | 0% | 9.0% | 0% | 9.0% |
| 5% | 8.2% | 5% | 8.4% | 5.0% | 10.4% |
| 10% | 7.4% | 10% | 7.8% | 10% | 11.8% |

- Table 5: IRR sensitivity analysis for Touongo

The IRR is not likely to pass the benchmark if investment costs, O&M or electricity generation are decreased or increased respectively.

The project IRR is therefore very unlikely to be above the benchmark, and the project is therefore additional. Additional revenues from the sale of the emission reductions could mitigate this high risk profile and low profitability of the project.

Step 4 : common practice analysis

As for Kafeate common practice analysis

Conclusion of the additionality section

Touongo wind-farm is not likely to be financially attractive and is not a common practice in New Caledonia, it is therefore additional.

Conclusion of the additionality demonstration

All the proposed project activities of this bundle prove to be first of their kind and not to be financially attractive and cannot be considered as common practice in New Caledonia.

The alternative B (no action from the PPs and the development of Aerowatt’s activities in France and other French overseas territories) is a less risky option for Aerowatt. Aerowatt and many project developers are working in France (but also in the French territory overseas included in the EU, like EDF-énergies-nouvelles and SEC) where several hundreds of MW are installed every-year and where investing in wind-farms is less financially risky and considered now as business as usual. Aerowatt is the only wind project developer in NC; a more attractive context would have encouraged competitors coming from France or the Pacific area to conquer this market.

VER revenues help the project activity to overcome these barriers by reducing the overall risk profile of the project through an improved financial feasibility.

The emissions reductions from the proposed Project are therefore additional to what would have occurred in absence of the project activity.

    - Emission reductions

      - Explanation of methodological choices

>> According to the methodology ACM0002 version 07, if the project activity is the installation of a new grid-connected renewable power plant/unit, the baseline scenario is the following:

Electricity delivered to the grid by the project activity would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in the “Tool to calculate the emission factor for an electricity system”.

Therefore:

| ERy = EFgrid,CM,y * Ely | Equation 1 |
| --- | --- |

Where:

| EFgrid,CM,y | Combined Margin Emission Factor in year 2007 |
| --- | --- |
| Ely | Net electricity delivered to grid by the Project |
| ERy | Emission reduction in year 2007 |

      - Data and parameters fixed ex ante

| - Data / Parameter | - EGy |
| --- | --- |
| - Unit | - MWh |
| - Description | - The net electricity generation excluding the low-cost must-run (2003-2007) |
| - Source of data | - Data provided by the New-Caledonian energy statistics center “Observatoire de l’énergie” |
| - Value(s) applied | - Table 6 |
| - Choice of data or Measurement methods and procedures | The net electricity generation excluding the low-cost must-run has been determined by subtracting from the total gross generation the hydro, nuclear, wind and biomass power. |
| - Purpose of data |  |
| - Additional comment |  |

| - Data / Parameter | FCi,y |
| --- | --- |
| - Unit | - ton or m3 |
| - Description | - Total amount of fossil fuel type is consumed by power plants/units in year y |
| - Source of data | - Data provided by the New-Caledonian “Observatoire de l’énergie” |
| - Value(s) applied | - Table 7 |
| - Choice of data or Measurement methods and procedures |  |
| - Purpose of data |  |
| - Additional comment |  |

| - Data / Parameter | - NCVi,y |
| --- | --- |
| - Unit | - TJ/kt or TJ/million m3 |
| - Description | Net calorific value of fossil fuel type i in year y |
| - Source of data | IPCC: Revised 2006 IPCC Guidelines for National Greenhouse Gas Inventories: Workbook, P1.23 and P1.24 in Chapter one. |
| - Value(s) applied | - Table 7 |
| - Choice of data or Measurement methods and procedures |  |
| - Purpose of data |  |
| - Additional comment |  |

| - Data / Parameter | - EFCO2i,y |
| --- | --- |
| - Unit | - tCO2/TJ |
| - Description | - CO2 emission factor of fossil fuel type I in year y |
| - Source of data | - The lower limits of the 95% confidence interval stated in the “2006 IPCC Guidelines for National Greenhouse Gas Inventories”,Volume 2, Chapter 1 (energy) Table 1.4. |
| - Value(s) applied | - Table 7 |
| - Choice of data or Measurement methods and procedures |  |
| - Purpose of data |  |
| - Additional comment |  |

| - Data / Parameter | - m |
| --- | --- |
| - Unit | - - |
| - Description | - Cohort o power plants to include in the build margin |
| - Source of data | - Communication from ENERCAL. A copy of the original excel file will be provided to the validator. |
| - Value(s) applied | - Table 9 |
| - Choice of data or Measurement methods and procedures |  |
| - Purpose of data |  |
| - Additional comment |  |

| - Data / Parameter | - EFCO2,m,i,y |
| --- | --- |
| - Unit | - tCO2/MWh |
| - Description | - Average CO2 emission factor of fuel type i used in power unit m in year y |
| - Source of data | The lower limits of the 95% confidence interval stated in the “2006 IPCC Guidelines for National Greenhouse Gas Inventories”, Volume 2, Chapter 1 (energy) Table 1.4. |
| - Value(s) applied | - Table 9 |
| - Choice of data or Measurement methods and procedures |  |
| - Purpose of data |  |
| - Additional comment |  |

| - Data / Parameter | - EFy |
| --- | --- |
| - Unit | - tCO2e/MWh |
| - Description | - Emission factor of New Caledonia |
| - Source of data | - Calculated |
| - Value(s) applied | - 0.906 |
| - Choice of data or Measurement methods and procedures | The Baseline Emission Factor is calculated as a Combined Margin, using the weighted average of the Operating Margin and Build Margin. |
| - Purpose of data |  |
| - Additional comment |  |

      - Ex ante calculation of emission reductions

>> The following formula is adopted for calculating emission reductions generated by the project activity:

| ERy=BEy−(PEy+LEy) | Equation 2 |
| --- | --- |

Where,

ERy: Annual emission reduction generated by the project activity in the year y (in t CO2-eq/year)

BEy: Baseline emissions in the year y (in t CO2-eq/year)

PEy: Project emissions in the year y (in t CO2-eq/year)

LEy: Leakage Emissions in the year y (in t CO2-eq/year)

The project activity is the generation of power with a wind farm. Hence, the project activity emissions are considered to be zero:

PEy=0

Moreover, leakage emissions are considered to be zero:

LEy=0.

Thus: PEy+LEy=0

The baseline emissions are calculated according to equation 1.

According to Section B.6.1, the combined baseline emission factor of the project is 0.906 tCO2/MWh. At full capacity, the expected annual electricity export to the grid is 40,243 MWh/year. BEy is calculated as follows:

BEy = EIy × EF = 40,243 MWh/year × 0.903t CO2e/MWh = 36,339 tCO2e/year

As previously mentioned, there are no GHG project and leakage emissions. Thus, the amount of generated emission reductions by the project activity equals to that of the baseline emissions.

ERy = BEy = 36,447 tCO2e/year

| Ely | Net electricity delivered to grid by the project at full capacity | 40,243 | MWh |
| --- | --- | --- | --- |
| ERy | Emission reduction from project | 36,339 | tCO2e |

      - Summary of ex ante estimates of emission reductions

| Year | Baseline emissions (t CO2e) | Project emissions (t CO2e) | Leakage (t CO2e) | Emission reductions (t CO2e) |
| --- | --- | --- | --- | --- |
| 1/04/2015 to 31/12/2015 | 27254 | 0 | 0 | 27254 |
| 1/01/2016 to 31/12/2016 | 36339 |  |  | 36339 |
| 1/01/2017 to 31/12/2017 | 36339 |  |  | 36339 |
| 1/01/2018 to 31/12/2018 | 36339 |  |  | 36339 |
| 1/01/2019 to 31/12/2019 | 36339 |  |  | 36339 |
| 1/01/2020 to 31/12/2020 | 36339 |  |  | 36339 |
| 1/01/2021 to 31/03/2021 | 9085 |  |  | 9085 |
| Total |  |  |  | 218034 |
| Total number of crediting years |  |  |  |  |
| Annual average over the crediting period |  |  |  | 31147 |

    - Monitoring plan

      - Data and parameters to be monitored

| Data / Parameter | EIy |
| --- | --- |
| Unit | MWh |
| Description | Net electricity exported to the grid in the year y |
| Source of data | Measured and verified against electricity sale receipts. The calculation of emission reductions in the monitoring protocols shall be based on the measured electricity meter values as main data source. |
| Value(s) applied |  |
| Measurement methods and procedures | Measured continuously by a kilowatt meter and recorded monthly by monitoring personnel. Only the net electricity exported to the grid shall be taken into account. This means that the monitoring measurement method shall exclude electricity imported from the grid by the project activity and possible transmission losses. |
| Monitoring frequency | Done by Enercal |
| QA/QC procedures | - Exported electricity to the grid is measured by a kilowatt meter which is controlled by the power grid company - Trained and qualified staff is responsible for recording electricity export data from the kilowatt meter - Meters will be calibrated periodically according to national standards - Data is measured by meters and will be crosschecked by electricity sales receipts. In sales receipts, incomes not deriving from electricity production but declared as electricity supplied to grid because of limitations of accounting system shall be identified and subtracted. If differences still occur, the more conservative amount shall be used. |
| Purpose of data |  |
| Additional comment | Refer to B.7.2. for a description of the monitoring plan |

      - Sampling plan

>>

      - Other elements of monitoring plan

>>

    - Date of completion of application of methodology and standardized baseline and contact information of responsible persons/ entities

>> The baseline and monitoring methodology were elaborated by Tanushree Bagh from South-Pole Carbon Asset Management Ltd. in Zurich. The main contact person is:

Tanushree Bagh

South Pole Carbon Asset Management

Zurich

  - Duration and crediting period

    - Duration of project activity

      - Start date of project activity

>> According to the glossary of CDM terms the project start date is chosen as “the earliest date at which either the implementation or construction or real action of a project activity begins”.

For each wind-farm the starting date of the project activity is chosen as the turbine order agreement.

|  | event |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Wind-farm | Subsidy request =”proof of early consideration” | Subsidy agreement | Turbine order agreement = “project start date” | PPA signature | Operation start |
| Prony II | 13/12/2002 | 28/03/2003 | 30/04/2003 | 8/12/2003 | 2003/12 |
| Kafeate I | 27/10/2003 | 15/01/2004 | 15/03/2004 | 16/11/2004 | 2005/03 |
| Kafeate II | 28/04/2004 | 27/07/2004 | 13/12/2004 | 13/01/2005 | 2005/11 |
| Prony III | 4/05/2005 | 24/03/2006 | 10/03/2006 | 06/12/2006 | 2006/12 |
| Mont-Mau | 5/05/2006 | 18/04/2007 | 16/04/2007 | 11/12/2007 | 2007/12 |
| Touongo | 20/07/2007 | 24/07/2008 | 10/10/2007 | Not signed yet | Expected in 2009/10 |

According to the guidance on the demonstration and assessment of prior consideration (version 1), Prony II, Kafeate I and II, Prony III, Mont-Mau and Touongo wind-farms have their start date before the 2nd of august 2008 and shall be considered as “existing project activities”.

Awareness of CDM can be assessed in two different manners; as a company strategy but also individually for each wind-farm:

- Proof of CDM awareness can be found in the request for subsidy formulated to the French ministry of finance by Aerowatt for each of the projects located in New Caledonia. A reference to the Kyoto’s Protocol and its environmental and economical benefit is explicitly formulated. Carbon credits volumes and the value of this asset is estimated monetarily taking the EUA spot price as a reference (or some OECD sources for the earliest projects). As a consequence each reference to carbon credits in the subsidy request sent to the French government can be considered as a clear and third party approved proof of CDM awareness. Each of these subsidy requests is dated before the project start date.

- As a company strategy, Aerowatt started its reflexion on carbon credits and considered their impact on profitability of the wind-farms as soon as 2002. The absence of a clear scheme to claim carbon credits or green-certificates has postponed the first concrete step to seek environmental credits to 2004. A board decision dated from 22nd January 2004 detailed Aerowatt’s decision to register Prony II and all future projects (undertaken in NC or elsewhere) as a “CDM project” Unfortunately, the ineligibility of New Caledonia to CDM and then the immaturity of the VER market finally encouraged Aerowatt to seek for green certificates (considered by Aerowatt as an equivalent form of environmental credit). In 2006, Aerowatt became a member of RECS and started the registration of all its projects under this program (the first request for registration of a wind-farm was sent the 9th February 2006). Today, all wind-farms operated by Aerowatt in France are producing Green certificates. Unfortunately this system is difficult to apply in New Caledonia. In 2007, aware of the developing VER market, Aerowatt started to look for VER opportunities. But it is only in 2008 that South Pole, encouraged by the eligibility of the project to the Gold Standard and the opportunity to group all these “small” wind-farms, expressed some interest for this bundle of wind-farms. The ERPA between Aerowatt and South Pole was signed in August 2008.

As a conclusion, motivated by the high-risk profile of wind-energy in NC, Aerowatt, has seriously taken into account all forms of environmental credits such as carbon credits and green certificates since 2002. The reference to the financial benefits of carbon credits made in all request for subsidy sent to the French Ministry of Finance and Aerowatt’s quest for green-certificates are clear third-party evidence of “prior consideration of CDM”.

      - Expected operational lifetime of project activity

>> The expected operational lifetime of the project activity is 20 years.

    - Crediting period of project activity

      - Type of crediting period

>>

Renewable  (3*7)

      - Start date of crediting period

>> 19th April 2015 (Start of second crediting period)

      - Length of crediting period

>> 7 years

  - Environmental impacts

    - Analysis of environmental impacts

>> For each wind-farm, an Environmental Impact Assessment (EIA) has been conducted on a voluntary basis (there is no law or regulations that bind Aerowatt to conduct an environmental assessment in NC) by an independent engineering company in collaboration with the local equivalent of the environment agency. All EIAs include a description and analysis of:

- The site before the construction of the wind-farm (hydrologic, human activities, security, cultural inheritance, landscape and natural resources),

- The permanent or temporary potential impact of the wind-farm on the landscape, human activities, security etc.,

- The choice of the site, and

- The actions to take to reduce and compensate for impacts from potential projects

The conclusions of all EIAs were positive and no major environmental issues were raised. Only in some rare cases, the EIA encouraged Aerowatt to modify slightly the position of the wind turbines to respect some flora and noise issues.  These considerations have always been taken into consideration (see section D.2) in the project design of the plant.

    - Environmental impact assessment

>> As described in section D1, Aerowatt has modified the project design of its wind-farms to take into account concerns raised during the EIA:

- Noise concerns in Kafeate has lead to the relocation of some turbines,

- In Prony some turbines were also relocated in order to limit the impact of the wind-farm on the local oak forest,

  - Local stakeholder consultation

    - Solicitation of comments from local stakeholders

>>Official stakeholders’ consultations (called “mission consultatives”) have been organized for all wind-farms included in the bundle.  They consist in the consultation of all kind of administration bodies that could be concerned by the project. All wind-farms received an official positive feedback, which is a requirement to get the construction permit.

On top of the official stakeholders’ consultation, Aerowatt also organized for all its projects several informational meetings with the local population and authorities. These consultations are not part of an official process but are useful to inform local populations and the Mayor who is the administration delivering the construction permit about the project. The number of consultations required for each project and the form that can take these consultations can vary from one project to the other one. In a first time it includes mainly presentations to both local administration and tribes and in a second step presentation of projects directly to the population. Unfortunately it is not required and not in local tribe traditions to keep record of these meetings and the PPs are therefore unable to document these consultations.

As a consequence and in the seek of transparency the PPs have recently documented one Stakeholders’ consultation that was organized by Aerowatt on the 21st of July 2008 in the Municipal building of Yaté for the construction of their last wind-farm project (not included in the bundle). The members of the Yaté town council and the representatives of the 2 local tribes were invited officially by letter. The invitation was received and accepted by the Mayor. During the meeting, Aerowatt provided the attendees with a document including a presentation of the company, the technology employed, the site location and access, the state of the administrative process and how environmental concerns are taken into account during the different phases of the project development.

The consultation process is not limited to the planning phase and communication and acceptance by the local community are part of Aerowatt’s global strategy. Site visits for schools or open house day are hence regularly organized. For instance, Prony was opened for visitors on 15/06/2007 just after it started to operate; the event was announced in the “Nouvelles Calédoniennes” local newspaper

(link to newspaper webpage: http://www.info.lnc.nc/articles/article_70535_59376_2898.htm. Other articles referring to site visits can be found at the following links; http://www.info.lnc.nc/articles/article_70535_51456_2743.htm, http://www.info.lnc.nc/articles/article_70535_41749_2512.htm). Moreover, site visits can even be organized on request.

Figure 5: Aerowatt regularly opens its wind-farms to visitors and schools. This is a photo of a site visit organized in 2006 in Ste Suzanne, Reunion Island.

This seeks for transparency and Castalia, an independent consultancy group who audited all Aerowatt wind-farms in New Caledonia, has independently assessed local consensus in 2007. Castalia interviewed the local representative of the cities of Voh, Nouméa, Mont-Dore and the local environment and energy agency (ADEME). This consultation confirmed that:

- No complaints and/or negative comments were made by the inhabitants living close to the wind-farms,

- There was no demonstration against the wind-farms, and

- The local authorities were consulted and informed before construction and gave their consent to build the wind-farms.

Castalia also checked the archive of the local newspaper “les nouvelles calédoniennes” and did not find any negative articles on wind-energy in New Caledonia.

In conclusion, it is clear that Aerowatt has always had a pro-active and open attitude towards communication and the local population. Communication is a key point for Aerowatt, which has a long term strategy in New Caledonia and wants to develop several wind-farms

    - Summary of comments received

>>Official stakeholders’ consultations (called “mission consultatives”) reports are not available. There are organized by local authorities under their own initiatives and sometimes even under local tribal protocol. They are no minutes of such meetings

    - Report on consideration of comments received

>> All projects included in the bundle received a construction permit which is delivered by the Mayor, showing that any potential comment has been received and taken into account during the conception phase.

  - Approval and authorization

>>

- - - - -

- Contact information of project participants and responsible persons/ entities

| Project participant and/or responsible person/ entity | Project participant Responsible person/ entity for application of the selected methodology (ies) and, where applicable, the selected standardized baselines to the project activity |
| --- | --- |
| Organization name |  |
| Street/P.O. Box |  |
| Building |  |
| City |  |
| State/Region |  |
| Postcode |  |
| Country |  |
| Telephone |  |
| Fax |  |
| E-mail |  |
| Website |  |
| Contact person |  |
| Title |  |
| Salutation |  |
| Last name |  |
| Middle name |  |
| First name |  |
| Department |  |
| Mobile |  |
| Direct fax |  |
| Direct tel. |  |
| Personal e-mail |  |

| Project participant and/or responsible person/ entity | Project participant Responsible person/ entity for application of the selected methodology (ies) and, where applicable, the selected standardized baselines to the project activity |
| --- | --- |
| Organization name | South Pole Carbon Asset Management Ltd. |
| Street/P.O. Box | Technoparkstrasse 1 |
| Building |  |
| City | Zurich |
| State/Region |  |
| Postcode | 8005 |
| Country | Switzerland |
| Telephone | +41 44 633 78 70 |
| Fax | +41 44 633 14 23 |
| E-mail | info@southpolecarbon.com |
| Website | www.southpolecarbon.com |
| Contact person | Renat Heuberger |
| Title | Mr. |
| Salutation | Heuberger |
| Last name | Renat |
| Middle name |  |
| First name |  |
| Department |  |
| Mobile |  |
| Direct fax |  |
| Direct tel. |  |
| Personal e-mail | registration@southpolecarbon.com |

Calculation of Emission Factor

The emission factor of New Caledonia is calculated according to the “Tool to calculate the emission factor for an electricity system” (Version 05).

STEP 1. Identify the relevant electric power system

A project electricity system is defined by the spatial extent of the power plants that are physically connected through transmission and distribution lines to the project activity and that can be dispatched without significant transmission constraints.

New Caledonia is an island with no cable connection with the continent; the spatial extent of the Project Boundary is defined as the insular electricity grid of New Caledonia operated by ENERCAL.

In New Caledonia energy statistics are provided by the “Observatoire de l’Energie” from the DIMENC, Direction de l’Industrie, des Mines et de l’Energie de Nouvelle Calédonie (which is the equivalent of the ministry of energy and mines for New Caledonia).

They provide power plant data net generation of all power plants and the fuel consumption from 20011 to 2014.

- Figure 6. New Caledonian Grid power system (source ENERCAL)

New Caledonia is an island, it does not have any transmission line with its neighbouring countries and islands (Ouvea, Lifou, Ile des Pins or Maré), therefore electricity imports or exports will not be considered in the following calculations.

STEP 2. Calculation of the Operating Margin (EFOM,y)

There is no nuclear power plant in New Caledonia, therefore only hydro, biofuel and wind power plants are included as low-cost/must-run resources, hereafter referred as lc-mr, which turns out to be around 20% of the total electricity generation on average during years 2003 to 2007:

Table 6. Share of low-cost/must-run resources

The baseline methodology allows a choice among four methods for the calculation of OM emission factor;

- Simple OM, or

- Simple adjusted OM, or

- Dispatch Data Analysis OM, or

- Average OM

Since the average share of electricity generation by lc-mr plants for five most recent years is found to be less than 50%, option (a) is chosen. The simple OM emission factor can be calculated using either of the two data vintages:

- Ex-ante option, where a 3-year generation-weighted average based on the most recent data is used. Monitoring and recalculation of the emission factor is not required, or

- Ex-post option, where the data of the year is used, in which the project activity displaces grid electricity. Yearly update of the emission factor is required.

The ex-ante option is selected to carry out the baseline methodology for the Project.

STEP 3. Calculate the operating margin emission factor according to the selected method

The Simple OM emission factor is calculated as the generation weighted average CO2 emissions per unit net electricity generation of all generating power plants serving the system, excluding lc-mr sources using one of the following approaches;

- Option A: Based on data on fuel consumption and net electricity generation of each power plant/unit, or

- Option B: Based on data on net electricity generation and the average efficiency of each power unit and the fuel types used in each power unit, or

- Option C: Based on data on the total net electricity generation of all power plants serving the system and the fuel types and total fuel consumption of the project electricity system.

The fuel consumption and net electricity generation of each power plant/unit are available. DIMENC can furnish them.   Option A can thus be used.

According to the “Tool to calculate the emission factor for an electricity system”:

- EFgrid,OMsimple,y=iFCi,y∗NCVi,y∗EFCO2,i,yEGy				Equation 3

where :

EFgrid,OMsimple,y 	= Simple operating margin CO2 emission factor in year y (tCO2/MWh)

FCi,m,y 		= Amount of fossil fuel type i consumed by power plant / unit m in year y (mass or volume unit)

NCVi,y 		= Net calorific value (energy content) of fossil fuel type i in year y (GJ / 				mass or volume unit)

EFCO2,i,y 		= CO2 emission factor of fossil fuel type i in year y (tCO2/GJ)

EGm,y 		= Net electricity generated and delivered to the grid by power plant / unit m in year y (MWh)

m 			= All power plants / units serving the grid in year y except low-cost / must-run power plants / units

i 			= All fossil fuel types combusted in power plant / unit m in year y

y 			= Either the three most recent years for which data is available at the time of submission of the CDM-PDD to the DOE for validation (ex ante option) or the applicable year during monitoring (ex post option), following the guidance on data vintage in step 2

The parameters used for the operating margin calculation are summarized in the following table:

- Table 7. CO2 emission coefficient of fuel i, COEF i  (source IPCC 2006 and http://www.simetric.co.uk/si_liquids.htm)

The detailed table for the calculation of the operating margin is presented here below.

- Table 8 : summary of the electricity statistics provided by the NC government and details of the OM calculations. In blue, the data provided by the government, in yellow our calculations and in red our extrapolations. * means “not connected to the main grid” and ** not on main island.

The yearly and average emission factors are the following:

|  | 2012 | 2013 | 2014 |
| --- | --- | --- | --- |
| EFOM,y | 1.01 | 0.978 | 0.962 |

EFgrid,OM,y =(1.01+0.978+0.962) /3 = 0.985 tCO2e/MWh

STEP4. Identify the cohort of power units to be included in the build margin

In this step, a generation-weighted average emission factor is calculated based on a sample of power plants, which have been taken into operation recently. The sample group of power plants/units m used to calculate the build margin consists of either:

- The set of five power units that have been built most recently

- The set of power capacity additions in the electricity system that comprise 20% of the system generation (in MWh) and that have been built most recently.

In terms of vintage of data, project participants can choose between one of the following two options:

Option 1.  For the first crediting period, calculate the build margin emission factor ex-ante based on the most recent information available on units already built for sample group m at the time of CDM-PDD submission to the DOE for validation.  For the second crediting period, the build margin emission factor should be updated based on the most recent information available on units already built at the time of submission of the request for renewal of the crediting period to the DOE.  For the third crediting period, the build margin emission factor calculated for the second crediting period should be used.  This option does not require monitoring the emission factor during the crediting period.

Option 2.  For the first crediting period, the build margin emission factor shall be updated annually, ex- post, including those units built up to the year of registration of the project activity or, if information up to the year of registration is not yet available, including those units built up to the latest year for which information is available.  For the second crediting period, the build margin emissions factor shall be calculated ex-ante, as described in option 1 above.  For the third crediting period, the build margin emission factor calculated for the second crediting period should be used.

For the project activity, because the crediting period is fixed, we calculate the build margin emission factor ex-ante based on the most recent information available on units already built for sample group m at the time of CDM-PDD submission to the DOE for validation.

For the project activity, the plants included in the build margin are the set of five power units that have been built most recently (Cf Table 9).

Step 5.  Calculate the build margin emission factor

The build margin emissions factor is the generation-weighted average emission factor (tCO2/MWh) of all power units m during the most recent year y for which power generation data is available, calculated as follows:

- Equation 4

Where:

EFgrid,BM,y 		=Build margin CO2 emission factor in year y (tCO2/MWh)

EGm,y 			=Net quantity of electricity generated and delivered to the grid by power unit m in year y (MWh)

EFEL,m,y 		= CO2 emission factor of power unit m in year y (tCO2/MWh)

m 			=Power units included in the build margin

y			=Most recent historical year for which power generation data is available

For the calculation of EFEL,m,y there are two options. We chose option 1 for our calculation as the fuel consumption data are available.

Option 1: If for a power unit m data on fuel consumption and electricity generation is available, the emission factor (EFEL,m,y) should be determined as follows:

- Equation 5

Where:

EFEL,m,y 		=CO2 emission factor of power unit m in year y (tCO2/MWh)

FCi,m,y 		=Amount of fossil fuel type i consumed by power unit m in year y (Mass or volume unit)

NCVi,y 	=Net calorific value (energy content) of fossil fuel type i in year y (GJ / mass or volume unit)

EFCO2,i,y	       	=CO2 emission factor of fossil fuel type i in year y (tCO2/GJ)

EGm,y 			=Net quantity of electricity generated and delivered to the grid by power unit m in year y (MWh)

m 			=All power units serving the grid in year y except low-cost / must-run power units

i 			=All fossil fuel types combusted in power unit m in year y

y 			=Either the three most recent years for which data is available at the time of submission of the CDM-PDD to the DOE for validation (ex ante option) or the applicable year during monitoring (ex post option), following the guidance on data vintage in step 2

Diesel consumption of Yaté is not available and therefore is neglected, which is conservative.

| Power plant | Capacity | Commissioning date | Electricity generation (EGm,y ) | Kerosene consumption | fuel oil consumption | diesel oil consumption | Emission (EFEL,m,y) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | MW |  | MWh | m3 | tons | m3 | tCO2 |
| Yaté (groupe récup) |  | 2007 | 1'050 |  |  |  | 0 |
| Négandi | 3 | 1996 | 5'737 |  |  |  | 0 |
| Nouméa 2 | 26 | 2003 | 8'772 | 3'265 |  |  | 8'413 |
| Népoui 1 | 24 | 1993 | 409'493 |  | 86'905 | 83.2 | 271'966 |
| Népoui 2 | 29 | 1999 |  |  |  |  |  |
| Total | 82 |  | 425'052 |  |  |  | 280'379 |
|  | 22.56% |  | 22.43% |  |  | EFBM,y | 0.660 |

- Table 9. Calculation of the build margin

EFgrid,BM,y = 280'379/ 425052 = 0.660 tCO2e/MWh

Step 6.  Calculate the combined margin emissions factor

The combined margin emissions factor is calculated as follows:

- Equation 6

Where:

EFgrid,BM,y =Build margin CO2 emission factor in year y (tCO2/MWh)

EFgrid,OM,y =Operating margin CO2 emission factor in year y (tCO2/MWh)

wOM =Weighting of operating margin emissions factor (%)

wBM =Weighting of build margin emissions factor (%)

The following default values should be used for wOM and wBM:

- Wind and solar power generation project activities: wOM = 0.75 and wBM = 0.25 (owing to their intermittent and non-dispatchable nature) for the first crediting period and for subsequent crediting periods.

The Baseline Emission Factor (EFy) is thus EFy = 0.985*0.75 + 0.25 * 0.660 = 0.903tCO2e/MWh.

- Applicability of methodology and standardized baseline

- Further background information on ex ante calculation of emission reductions

- Further background information on monitoring plan

- Summary of post registration changes

- - - - -

- Attachment.	Instructions for filling out the project design document form for CDM project activities

- General instructions

- When designing a project activity and completing the CDM-PDD-FORM, in addition to applying the “CDM project standard” (Project standard), the selected approved baseline and monitoring methodology(ies) (hereinafter referred to as the selected methodology(ies)) and, where applicable, the selected approved standardized baseline(s) (hereinafter referred to as the selected standardized baseline(s)), consult the “Rules and Reference” section of the UNFCCC CDM website. This section contains all regulatory documents for the CDM, such as standards (including methodologies, tools and standardized baselines), procedures, guidelines, clarifications, forms and the “Glossary: CDM terms”.

- When documenting changes occurred to the project activity after its registration in accordance with applicable provisions relating to the post registration changes process, prepare two versions of the PDDs using the CDM-PDD-FORM, one in clean version and the other indicating the changes in track-change.

- In addition to the provisions in paragraph above, provide a summary of the changes, including the reasons for the changes and any additional information relating to the changes, in Appendix 6 below.

- Where a PDD contains information that the project participants wish to be treated as confidential/proprietary, submit documentation in two versions:

  - One version where all parts containing confidential/proprietary information are made illegible (e.g. by covering those parts with black ink) so that the version can be made publicly available without displaying confidential/proprietary information;

  - A version containing all information that is to be treated as strictly confidential/proprietary by all parties handling this documentation (designated operational entities (DOEs) and applicant entities (AEs); Board members and alternate members; panel/committee and working group members; external experts requested to consider such documents in support of work for the Board; the secretariat).

- Information used to: (a) demonstrate additionality; (b) describe the application of the selected methodology(ies) and, where applicable, the selected standardized baseline(s); and (c) support the environmental impact assessment; is not considered proprietary or confidential. Make any data, values and formulae included in electronic spreadsheets provided accessible and verifiable.

- Complete the CDM-PDD-FORM and all attached documents in English, or contain a full translation of relevant sections in English.

- Complete the CDM-PDD-FORM using the same format without modifying its font, headings or logo, and without any other alteration to the form.

- Do not modify or delete tables and their columns in the CDM-PDD-FORM. Add rows of the tables as needed. Add additional appendices as needed.

- If a section of the CDM-PDD-FORM is not applicable, explicitly state that the section is left blank intentionally.

- Use an internationally recognized format for presentation of values in the CDM-PDD-FORM, for example use digits grouping in thousands and mark a decimal point with a dot (.), not with a comma (,).

- Complete the CDM-PDD-FORM deleting this Attachment “Instructions for filling out the project design document form for CDM project activities”.

- Specific instructions

- Indicate the following information on the cover page:

- Title of the project activity;

- Version number of the PDD;

- Completion date of the PDD (DD/MM/YYYY);

- Project participant(s);

- Host Party;

- Sectoral scope, selected methodology(ies) and, where applicable, selected standardized baseline(s);

- Estimated amount of annual average GHG emission reductions.

- Description of project activity

  - Purpose and general description of project activity

- Provide a brief description of the project activity in accordance with applicable provisions related to the description of project activity in the Project standard.

- Also provide a brief description of (in a couple of paragraphs):

- The scenario existing prior to the implementation of the project activity including, where applicable, the type of facility where the project activity will take place or replace (e.g. sugar mill, swine farm, iron smelter, etc.);

- The baseline scenario, as identified in section B.4 below.

- The full description of the technologies and measures, project boundary and baseline scenario are to be provided in sections A.3, B.3 and B.4 below.

- If the baseline scenario is the same as the scenario existing prior to the implementation of the project activity, there is no need to repeat the description of the scenarios, but only to state that both are the same.

- Provide the estimate of annual average and total GHG emission reductions for the chosen crediting period. - Include a brief description of how the project activity contributes to sustainable development (not more than one page). - Confirm that the proposed CDM project activity is not a CPA that has been excluded from a registered CDM PoA as a result of erroneous inclusion of CPAs.

  - Location of project activity

    - Host Party

- Indicate the host party which is the Party in which the CDM project activity is located. The CDM project activity can have only one host Party.

    - Region/State/Province etc.

    - City/Town/Community etc.

    - Physical/Geographical location

- Provide details of the physical/geographical location of the project activity, including information allowing the unique identification of this project activity and a map. Do not exceed one page for the description of location.

  - Technologies and measures

- Describe the technologies and measures to be employed and/or implemented by the project activity, including a list of the facilities, systems and equipment that will be installed and/or modified by the project activity. This includes:

- A list and the arrangement of the main manufacturing/production technologies, systems and equipment involved. Include in the description information about the age and average lifetime of the equipment based on manufacturer’s specifications and industry standards, and existing and forecast installed capacities, load factors and efficiencies. The monitoring equipments and their location in the systems are of particular importance;

- Energy and mass flows and balances of the systems and equipment included in the project activity;

- The types and levels of services (normally in terms of mass or energy flows) provided by the systems and equipment that are being modified and/or installed under the project activity and their relation, if any, to other manufacturing/production equipment and systems outside the project boundary. The types and levels of services provided by those manufacturing/production systems and equipment outside the project boundary may also constitute important parameters of the description. Clearly explain how the same types and levels of services provided by the project activity would have been provided in the baseline scenario.

- Also provide a list of:

- Facilities, systems and equipment in operation under the existing scenario prior to the implementation of the project activity;

- Facilities, systems and equipment in the baseline scenario, as established in section B.4 below.

- If the baseline scenario is a continuation of current practice, thus identical to the scenario existing prior to the implementation of the project activity, there is no need to repeat the description of the scenarios, only state that both are the same.

- Do not provide information that is not essential to understanding the purpose of the project activity and how it reduces GHG emissions. Do not include information related to equipment, systems and measures that are auxiliary to the main scope of the project activity and do not affect directly or indirectly GHG emissions and/or mass and energy balances of the processes related to the project activity. - Include a description of how the technologies and measures and know-how to be used are transferred to the host Party.

  - Party(ies) and project participant(s)

- List in the table below Party(ies) and project participant(s) involved in the project activity and provide contact information in Appendix 1. below. - When the CDM-PDD-FORM is completed in support of a proposed new methodology, identify at least the host Party and any known project participant(s) (e.g. those proposing a new methodology).

| Name of Party involved (host) indicates host Party | Name of private and/or public entity(ies) project participants (as applicable) | Indicate if the Party involved wishes to be considered as project participant (Yes/No) |
| --- | --- | --- |
| Name A (host) | Private entity A Public entity A |  |
| Name B | Private entity B Public entity B |  |
| … | … |  |

  - Public funding of project activity

- Indicate whether the project activity receives public funding from Parties included in Annex I. If so:

- Provide information on Parties providing public funding;

- Attach in Appendix 2. below the affirmation obtained from such Parties in accordance with applicable provisions related to official development assistance in the Project standard.

- When the CDM-PDD-FORM is completed in support of a proposed new methodology, describe whether public funding from Parties included in Annex I is likely to be provided, indicating the Parties to the extent possible.

- Application of selected approved baseline and monitoring methodology and standardized baseline

  - Reference of methodology and standardized baseline

- Indicate exact reference (number, title, version) of:

- The selected methodology(ies) (e.g. ACM0001: “Large-scale Consolidated Methodology: Flaring or use of landfill gas” (Version 15.0);

- Any tools and other methodologies to which the selected methodology(ies) refer (e.g. “Methodological Tool: Tool for the demonstration and assessment of additionality” (Version 07.0.0));

- The selected standardized baseline(s), where applicable (e.g. ASB0001 “Standardized baseline: Grid emission factor for the Southern African power pool” (Version 01.0)).

- Refer to the UNFCCC CDM website for the exact reference of approved baseline and monitoring methodologies, tools and standardized baselines.

  - Applicability of methodology and standardized baseline

- Justify the choice of the selected methodology(ies) and, where applicable, the selected standardized baseline(s) by showing that the project activity meets each applicability condition of the methodology(ies) and, where applicable, the selected standardized baseline(s). Explain documentation that has been used and provide the references to it or include the documentation in Appendix 3. below.

  - Project boundary

- Use the table below to describe emission sources and GHGs included in the project boundary for the purpose of calculating project emissions and baseline emissions.

- In addition to the table, present a flow diagram of the project boundary, physically delineating the project activity, based on the description provided in section A.3 above. Include in the flow diagram the equipment, systems and flows of mass and energy described in that section. In particular, indicate in the diagram the emission sources and GHGs included in the project boundary and the data and parameters to be monitored.

| Source |  | Gas | Included | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline scenario | Source 1 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | Source 2 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | … | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
| Project scenario | Source 1 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | Source 2 | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |
|  | … | CO2 |  |  |
|  |  | CH4 |  |  |
|  |  | N2O |  |  |
|  |  | … |  |  |

  - Establishment and description of baseline scenario

- Explain how the baseline scenario is established in accordance with applicable provisions for establishment and description of baseline scenarios in the Project standard and the selected methodology(ies).

- Where the procedure in the selected methodology(ies) involves several steps, describe how each step is applied and transparently document the outcome of each step. Explain and justify key assumptions and rationales. Provide and explain all data used to establish the baseline scenario (variables, parameters, data sources, etc.). Provide all relevant documentation and/or references.

- Provide a transparent description of the baseline scenario as established above. - Where “future anthropogenic emissions by sources are projected to rise above current levels due to the specific circumstances of the host Party”, use the “Guidelines on the consideration of suppressed demand in CDM methodologies” to propose a revision to an approved methodology to cover such scenario if it is not covered in the methodology.

- Where the selected standardized baseline standardizes the baseline scenario, describe the baseline scenario in accordance with the selected standardized baseline.

- The full description of the technology of the baseline scenario is to be provided in section A.3 above.

- Note that section B.4 above and section B.5 below are complementary. Some of the steps undertaken in one section may overlap with the steps undertaken in the other section depending on the procedures used to establish the baseline scenario and demonstrate additionality. If the “Combined tool to identify the baseline scenario and demonstrate additionality” is used, replicate the same information in both sections. In this case, make a reference to the other section where the description is contained.

  - Demonstration of additionality

- Demonstrate that the project activity is additional in accordance with the selected methodology(ies), where applicable, the selected standardized baseline(s) and applicable provisions for demonstration of additionality in the Project standard. Where the procedure in the selected methodology(ies) and/or tool involves several steps, describe how each step is applied and transparently document the outcome of each step. Indicate clearly the method selected to demonstrate additionality (e.g. investment analysis or barrier analysis). Present in a transparent manner, in the form or in a separate appendix, with all data used (variables, parameters, data sources, etc.), how the additionality of the project activity is demonstrated.

- Where the additionality criteria (e.g. positive lists of technologies) in the selected standardized baselines(s) are used, justify how the project activity meets the additionality criteria (e.g. how the technology to be implemented or implemented by the project activity is justified as one of the technologies listed in the positive list).

- Where investment analysis is used, list all relevant assumptions and parameters used in the analysis. Where benchmark analysis is used, clearly indicate the benchmark. Where cost comparison is used, describe the scenarios compared.

- Where the barriers are involved in demonstrating additionality, only select the most relevant barriers. With key facts and/or assumptions and the rationale, justify the credibility of the barriers. Provide relevant documentation or references.

- If the start date of the project activity is prior to the date of publication of the PDD for the global stakeholder consultation, provide evidence of the prior consideration of the CDM in accordance with applicable provisions related to the demonstration of prior consideration of the CDM in the Project standard.

  - Emission reductions

    - Explanation of methodological choices

- Explain how the methods or methodological steps in the selected methodology(ies) and, where applicable, the selected standardized baseline(s), for calculating baseline emissions, project emissions, leakage and emission reductions are applied. Clearly state which equations will be used in calculating emission reductions.

- Explain and justify all relevant methodological choices, including:

- Where the selected methodology(ies) and, where applicable, the selected standardized baseline(s) include different scenarios or cases, indicate and justify which scenario or case applies to the project activity (e.g. which scenario in ACM0006 is applicable);

- Where the selected methodology(ies) and, where applicable, the selected standardized baseline(s) provide different options to choose from (e.g. which methodological approach is used to calculate the “operating margin” in ACM0002), indicate and justify which option is chosen for the project activity;

- Where the selected methodology(ies) and, where applicable, the selected standardized baseline(s) allow different default values, indicate and justify which of the default values have been chosen for the project activity.

    - Data and parameters fixed ex ante

- Include a compilation of information on the data and parameters that are not monitored during the crediting period but are determined before the registration and remain fixed throughout the crediting period. Do not include data that become available only after the registration of the project activity (e.g. measurements after the implementation of the project activity) here but include them in the table in section B.7.1 below.

- The compilation of information may include data that are measured or sampled, and data that are collected from other sources (e.g. official statistics, expert judgment, proprietary data, IPCC, commercial and scientific literature, etc.). Do not include data that are calculated with equations provided in the selected methodology(ies) or default values specified in the methodology(ies) in the compilation.

- For each piece of data or parameter, complete the table below, following these instructions:

- “Value(s) applied”: Provide the value applied. Where a time series of data is used, where several measurements are undertaken or where surveys have been conducted, provide detailed information in Appendix 4. below. To report multiple values referring to the same data and parameter, use one table. If necessary, use reference(s) to electronic spreadsheets;

- “Choice of data”: Indicate and justify the choice of data source. Provide clear and valid references and, where applicable, additional documentation in Appendix 4. below;

- “Measurement methods and procedures”: Where values are based on measurement, include a description of the measurement methods and procedures applied (e.g. which standards have been used), indicate the responsible person/entity that undertook the measurement, the date of the measurement and the measurement results. More detailed information can be provided in Appendix 4. below;

- “Purpose of data”: Choose one of the following: - Calculation of baseline emissions; - Calculation of project emissions; - Calculation of leakage. - For parameter global warming potentials (GWPs), from 1 January 2013, include the values adopted by decision 4/CMP.7 to calculate the emission reductions achieved in the second commitment period of the Kyoto Protocol in accordance with the applicable provisions in the Project standard.

(Copy this table for each piece of data and parameter.)

| Data / Parameter: |  |
| --- | --- |
| Unit: |  |
| Description: |  |
| Source of data: |  |
| Value(s) applied: |  |
| Choice of data or Measurement methods and procedures: |  |
| Purpose of data: |  |
| Additional comment: |  |

    - Ex ante calculations of emission reductions

- Provide a transparent ex ante calculation of baseline emissions, project emissions (or, where applicable, direct calculation of emission reductions) and leakage expected during the crediting period, applying all relevant equations provided in the selected methodology(ies) and, where applicable, the selected standardized baseline(s). For data or parameters available before registration, use values contained in the table in section B.6.2 above.

- For data/parameters not available before registration and monitored during the crediting period, use estimates contained in the table in section B.7.1 below. If any of these estimates has been determined by a sampling approach, provide a description of the sampling efforts undertaken in accordance with the “Standard for sampling and surveys for CDM project activities and programme of activities”.

- Document how each equation is applied, in a manner that enables the reader to reproduce the calculation. Where relevant, provide additional background information and/or data in Appendix 4. below, including relevant electronic spreadsheets.

- Provide a sample calculation for each equation used, substituting the values used in the equations.

    - Summary of the ex ante estimates of emission reductions

- Summarize the results of the ex ante calculation of emission reductions for all years of the crediting period, using the table below.

| Year | Baseline emissions (t CO2e) | Project emissions (t CO2e) | Leakage (t CO2e) | Emission reductions (t CO2e) |
| --- | --- | --- | --- | --- |
| Year A |  |  |  |  |
| Year B |  |  |  |  |
| Year C |  |  |  |  |
| Year … |  |  |  |  |
| Total |  |  |  |  |
| Total number of crediting years |  |  |  |  |
| Annual average over the crediting period |  |  |  |  |

  - Monitoring plan

- Through sections B.7.1, B.7.2 and B.7.3 below, provide a detailed description of the monitoring plan of the project activity developed in accordance with the applicable provisions in the Project standard, the selected methodology(ies) and, where applicable, the selected standardized baseline. - If the project participants choose to delay the submission of the monitoring plan for the proposed project activity in accordance with the applicable provisions in the Project standard, clearly state that the submission of the monitoring plan is delayed and that the PDD does not contain information related to the monitoring plan.

    - Data and parameters to be monitored

- Include specific information on how the data and parameters that need to be monitored in the selected methodology(ies) and, where applicable, the selected standardized baseline(s) would actually be collected during monitoring. Include here data that are determined only once for the crediting period but that will become available only after registration of the project activity (e.g. measurements after the implementation of the project activity).

- For each piece of data or parameter, complete the table below, following these instructions:

- “Source of data”: Indicate the source(s) of data that will be used for the project activity (e.g. which exact national statistics). Where several sources are used, justify which data sources should be preferred;

- “Value(s) applied”: The value applied is an estimate of the data/parameter that will be monitored during the crediting period, but is used for the purpose of calculating estimated emission reductions in section B.6 above. To report multiple values referring to the same data and parameter, use one table. If necessary, use reference(s) to electronic spreadsheets;

- “Measurement methods and procedures”: Where data or parameters are to be monitored, specify the measurement methods and procedures, standards to be applied, accuracy of the measurements, person/entity responsible for the measurements, and, in case of periodic measurements, the measurement intervals;

- “QA/QC procedures”: Describe the Quality Assurance (QA)/Quality Control (QC) procedures to be applied, including the calibration procedures, where applicable;

- “Purpose of data”: Choose one of the following: - Calculation of baseline emissions; - Calculation of project emissions; - Calculation of leakage.

- Provide any relevant further background documentation in Appendix 5. below.

(Copy this table for each piece of data and parameter.)

| Data / Parameter: |  |
| --- | --- |
| Unit: |  |
| Description: |  |
| Source of data: |  |
| Value(s) applied: |  |
| Measurement methods and procedures: |  |
| Monitoring frequency: |  |
| QA/QC procedures: |  |
| Purpose of data: |  |
| Additional comment: |  |

    - Sampling plan

- If data and parameters monitored in section B.7.1 above are to be determined by a sampling approach, provide a description of the sampling plan in accordance with the recommended outline for a sampling plan in the “Standard for sampling and surveys for CDM project activities and programme of activities”.

    - Other elements of monitoring plan

- Describe the operational and management structure that the project operator will implement in order to monitor emission reductions and any leakage generated by the project activity. Clearly indicate the responsibilities and institutional arrangements for data collection and archiving. Provide any relevant further background information in Appendix 5. below.

  - Date of completion of application of methodology and standardized baseline and contact information of responsible persons/ entities

- Provide the date of completion of study on application of the selected methodology(ies) and, where applicable, the selected standardized baseline(s) to the project activity in the format of DD/MM/YYYY. - Provide contact information of the person(s)/ entity(ies) responsible for the application of the selected methodology(ies) and, where applicable, the selected standardized baseline(s) to the project activity and indicate if the person(s)/ entity(ies) is also a project participant(s) in Appendix 1. below.

- Duration and crediting period

  - Duration of project activity

    - Start date of project activity

- State the start date of the project activity, in the format of DD/MM/YYYY, describe how this date has been determined as per the definition of start date provided in the “Glossary: CDM terms”, and provide evidence to support this date.

    - Expected operational lifetime of project activity

- State the expected operational lifetime of the project activity in years and months.

  - Crediting period of project activity

    - Type of crediting period

- State the type of crediting period chosen for the project activity (renewable or fixed). - For a renewable crediting period, indicate whether it is the first, second or third.

    - Start date of crediting period

- State the start date of crediting period of the project activity in the format of DD/MM/YYYY.

    - Length of crediting period

- State the length of the crediting period of the project activity in years and months.

- Environmental impacts

  - Analysis of the environmental impacts

- Provide a summary of the analysis of the environmental impacts of the project activity and references to all related documentation.

  - Environmental impact assessment

- If an environmental impact assessment is required, provide conclusions and references to all related documentation.

- Local stakeholder consultation

  - Solicitation of comments from local stakeholders

- Describe the process by which comments from local stakeholders have been invited for the project activity in accordance with the applicable provisions in the Project standard. - Describe how stakeholder consultation was conducted in accordance with applicable national regulations, if any.

  - Summary of comments received

- Identify stakeholders that have made comments, including comments forwarded by the DNA of the host Party, if any, and provide a summary of these comments.

  - Report on consideration of comments received

- Provide information demonstrating that all comments and complaints received, including comments and complaints forwarded by the DNA of the host Party, if any, have been considered.

- Approval and authorization

- Indicate whether the letter(s) of approval from Party(ies) for the project activity is available at the time of submitting the PDD to the validating DOE.

- If so, provide the letter(s) of approval along with the PDD.

- Contact information of project participants and responsible persons/ entities

- For each organisation listed in sections A.4 and B.7.4 above, complete the table below, with the following mandatory fields: Project participant and/or responsible person/ entity, Organization, Street/P.O. Box, City, Postcode, Country, Telephone, Fax, e-mail and Name of contact person. Copy and paste the table as needed.

| Project participant and/or responsible person/ entity | Project participant Responsible person/ entity for application of the selected methodology (ies) and, where applicable, the selected standardized baselines to the project activity |
| --- | --- |
| Organization name |  |
| Street/P.O. Box |  |
| Building |  |
| City |  |
| State/Region |  |
| Postcode |  |
| Country |  |
| Telephone |  |
| Fax |  |
| E-mail |  |
| Website |  |
| Contact person |  |
| Title |  |
| Salutation |  |
| Last name |  |
| Middle name |  |
| First name |  |
| Department |  |
| Mobile |  |
| Direct fax |  |
| Direct tel. |  |
| Personal e-mail |  |

- Affirmation regarding public funding

- If applicable, attach the affirmation obtained from Parties included in Annex 1 providing public funding to the project activity.

- Applicability of methodology and standardized baseline

- Provide any further background information on the applicability of the selected methodology(ies) and, where applicable, the selected standardized baseline(s).

- Further background information on ex ante calculation of emission reductions

- Provide any further background information on the ex ante calculation of emission reductions. This may include data, measurement results, data sources, etc.

- Further background information on monitoring plan

- Provide any further background information used in the development of the monitoring plan. This may include tables with time series data, additional documentation of measurement equipment, procedures, etc.

- Summary of post registration changes

- Provide a summary of the post registration changes.

- - - - -

Document information

| Version | Date | Description |
| --- | --- | --- |
| - 06.0 | - 9 March 2015 | - Revisions to: - Include provisions related to statement on erroneous inclusion of a CPA; - Include provisions related to delayed submission of a monitoring plan; - Provisions related to local stakeholder consultation; - Provisions related to the Host Party; - Editorial improvement. |
| - 05.0 | - 25 June 2014 | - Revisions to: - Include the Attachment: Instructions for filling out the project design document form for CDM project activities (these instructions supersede the "Guidelines for completing the project design document form" (Version 01.0)); - Include provisions related to standardized baselines; - Add contact information on a responsible person(s)/ entity(ies) for the application of the methodology (ies) to the project activity in B.7.4 and Appendix 1; - Change the reference number from F-CDM-PDD to CDM-PDD-FORM; - Editorial improvement. |
| - 04.1 | - 11 April 2012 | - Editorial revision to change version 02 line in history box from Annex 06 to Annex 06b |
| - 04.0 | - 13 March 2012 | - Revision required to ensure consistency with the “Guidelines for completing the project design document form for CDM project activities” (EB 66, Annex 8). |
| - 03.0 | - 26 July 2006 | - EB 25, Annex 15 |
| - 02.0 | - 14 June 2004 | - EB 14, Annex 06b |
| - 01.0 | - 03 August 2002 | - EB 05, Paragraph 12 - Initial adoption. |
| - Decision Class: Regulatory Document Type: Form Business Function: Registration Keywords: project activities, project design document |  |  |

- A clear and transparent financial plan will be disclosed to the DOE during validation upon request.

- http://www.oecd.org/dataoecd/62/48/41655745.pdf

- http://www.thewindpower.net/fiche-eolienne-204-vergnet-gev-26-220.php

- As per the Annex 10 of the 34th meeting of the meth panel.

- http://www.thewindpower.net/liste-champs-eoliens-988-nouvelle-caledonie.php

- Independent Power Producer

- http://www.thewindpower.net/fiche-eolienne-204-vergnet-gev-26-220.php

- As per the Annex 10 of the 34th meeting of the meth panel.

- Communication from the local renewable energy agency in NC. 12% to 13% is the IRR targeted by the government to determine the future grid-tariff for renewable energy in NC. As a conservative approach we choose 12%.

- This request for subsidies is submitted to the French Ministry of Finance and is called  “agreement folder” (Dossier d’agrément”).

- This request for subsidies is submitted to the French Ministry of Finance and is called “agreement folder” (Dossier d’agrément”).

- 67 of EB41 report

- or date of entry into force of the turbine order agreement

- See EB report 41 annex 46 : http://cdm.unfccc.int/EB/041/eb41_repan46.pdf

- Renewable Energy Certificates System: http://www.recs.org

- To be registered as green certificate projects, RECS France requires an electricity purchase agreement from EDF (Electrictié De France; the historical power producer in France). The electricity purchase agreements with Enercal are therefore not recognized by RECS.

- See “Audit de la Filière éolienne en Nouvelle Calédonie” realized by Castalia for the  Ministry of energy and industry of NC, September 2007; page 97

- Letter on 10th of July from Yaté’s Mayor to Aerowatt, available on request

- see: http://fee.asso.fr/espace_particuliers/visiter_un_parc_eolien.

- See “Audit de la Filière éolienne en Nouvelle Calédonie” conducted by Castalia for the  Ministry of energy and industry of NC, September 2007; page xviii and xix

- Revised 2006 IPCC Guidelines for National Greenhouse Gas Inventories: Workbook, P1.18 and P1.19 in Chapter one.